## Sheet1
Instrument in Sequence | 1 - E36312A - USB0::0x2A8D::0x1102::MY59002591::0::INSTR | Time | Step | 1 - Set CH2 On/Off (VCE) | 1 - Set CH3 On/Off (VBB) | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | 1 - Set CH2 Voltage Range | 1 - Set CH3 Voltage Range | 1 - Set CH2 Current Limit | 1 - Set CH3 Current Limit | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | 1 - Set CH2 Voltage Setting | 1 - Set CH3 Voltage Setting | 1 - Sweep VBB | 1 - Sweep VCE | 1 - Measure IB | 1 - Measure IC | 1 - Measure VCE | 1 - Set CH2 On/Off (VCE) | 1 - Set CH3 On/Off (VBB) ()
Start Time | 44785.5982 | 2022-08-12 14:21 | 1
Stop Time | 44785.5996 | 2022-08-12 14:21 | 2
|  | 2022-08-12 14:21 | 3
|  | 2022-08-12 14:21 | 4 | 0
|  | 2022-08-12 14:21 | 5 |  | 0
|  | 2022-08-12 14:23 | 6 |  |  | 0 | 0.02 | 0 | 0.7 | 5.7 | 1 | 0 | 5 | 0.25
|  | 2022-08-12 14:23 | 7 | [11 empty] | 25.75 V
|  | 2022-08-12 14:23 | 8 | [12 empty] | 25.75 V
|  | 2022-08-12 14:23 | 9 | [13 empty] | 0.02
|  | 2022-08-12 14:23 | 10 | [14 empty] | 0.001
|  | 2022-08-12 14:23 | 11 | [15 empty] | 1
|  | 2022-08-12 14:23 | 12 | [16 empty] | 1
|  | 2022-08-12 14:23 | 13 | [17 empty] | 0
|  | 2022-08-12 14:23 | 14 | [18 empty] | 0
|  | 2022-08-12 14:23 | 15 | [19 empty] | 0.7 | 0 | 1.1e-05 | -1e-05 | 0.000513
|  | 2022-08-12 14:23 | 16 | [19 empty] | 0.7 | 0.25 | 5e-06 | 0.000161 | 0.24932
|  | 2022-08-12 14:23 | 17 | [19 empty] | 0.7 | 0.5 | 5e-06 | 0.000195 | 0.49813
|  | 2022-08-12 14:23 | 18 | [19 empty] | 0.7 | 0.75 | 4e-06 | 0.000195 | 0.74944
|  | 2022-08-12 14:23 | 19 | [19 empty] | 0.7 | 1 | 4e-06 | 0.000195 | 0.99992
|  | 2022-08-12 14:23 | 20 | [19 empty] | 0.7 | 1.25 | 4e-06 | 0.000196 | 1.2487
|  | 2022-08-12 14:23 | 21 | [19 empty] | 0.7 | 1.5 | 4e-06 | 0.000197 | 1.5
|  | 2022-08-12 14:23 | 22 | [19 empty] | 0.7 | 1.75 | 4e-06 | 0.000196 | 1.7489
|  | 2022-08-12 14:23 | 23 | [19 empty] | 0.7 | 2 | 4e-06 | 0.000197 | 1.9993
|  | 2022-08-12 14:23 | 24 | [19 empty] | 0.7 | 2.25 | 4e-06 | 0.000197 | 2.2481
|  | 2022-08-12 14:23 | 25 | [19 empty] | 0.7 | 2.5 | 4e-06 | 0.000197 | 2.4995
|  | 2022-08-12 14:23 | 26 | [19 empty] | 0.7 | 2.75 | 4e-06 | 0.000197 | 2.7499
|  | 2022-08-12 14:23 | 27 | [19 empty] | 0.7 | 3 | 4e-06 | 0.000198 | 2.9987
|  | 2022-08-12 14:23 | 28 | [19 empty] | 0.7 | 3.25 | 4e-06 | 0.000198 | 3.2492
|  | 2022-08-12 14:23 | 29 | [19 empty] | 0.7 | 3.5 | 4e-06 | 0.000198 | 3.498
|  | 2022-08-12 14:23 | 30 | [19 empty] | 0.7 | 3.75 | 4e-06 | 0.000199 | 3.7493
|  | 2022-08-12 14:23 | 31 | [19 empty] | 0.7 | 4 | 4e-06 | 0.000198 | 3.9981
|  | 2022-08-12 14:23 | 32 | [19 empty] | 0.7 | 4.25 | 4e-06 | 0.000199 | 4.2486
|  | 2022-08-12 14:23 | 33 | [19 empty] | 0.7 | 4.5 | 4e-06 | 0.000199 | 4.4983
|  | 2022-08-12 14:23 | 34 | [19 empty] | 0.7 | 4.75 | 4e-06 | 0.000199 | 4.7487
|  | 2022-08-12 14:23 | 35 | [19 empty] | 0.7 | 5 | 4e-06 | 0.000199 | 4.9992
|  | 2022-08-12 14:23 | 36 | [19 empty] | 1.7 | 0 | 2.6e-05 | -3.1e-05 | 0.001348
|  | 2022-08-12 14:23 | 37 | [19 empty] | 1.7 | 0.25 | 1.4e-05 | 0.001999 | 0.25016
|  | 2022-08-12 14:23 | 38 | [19 empty] | 1.7 | 0.5 | 1.4e-05 | 0.002443 | 0.49896
|  | 2022-08-12 14:23 | 39 | [19 empty] | 1.7 | 0.75 | 1.4e-05 | 0.002452 | 0.74944
|  | 2022-08-12 14:23 | 40 | [19 empty] | 1.7 | 1 | 1.3e-05 | 0.00246 | 0.99992
|  | 2022-08-12 14:23 | 41 | [19 empty] | 1.7 | 1.25 | 1.3e-05 | 0.002466 | 1.2487
|  | 2022-08-12 14:23 | 42 | [19 empty] | 1.7 | 1.5 | 1.3e-05 | 0.002472 | 1.5
|  | 2022-08-12 14:23 | 43 | [19 empty] | 1.7 | 1.75 | 1.3e-05 | 0.002477 | 1.7489
|  | 2022-08-12 14:23 | 44 | [19 empty] | 1.7 | 2 | 1.3e-05 | 0.002482 | 1.9993
|  | 2022-08-12 14:23 | 45 | [19 empty] | 1.7 | 2.25 | 1.3e-05 | 0.002486 | 2.2481
|  | 2022-08-12 14:23 | 46 | [19 empty] | 1.7 | 2.5 | 1.3e-05 | 0.002491 | 2.4995
|  | 2022-08-12 14:23 | 47 | [19 empty] | 1.7 | 2.75 | 1.3e-05 | 0.002496 | 2.7499
|  | 2022-08-12 14:23 | 48 | [19 empty] | 1.7 | 3 | 1.3e-05 | 0.002501 | 2.9987
|  | 2022-08-12 14:23 | 49 | [19 empty] | 1.7 | 3.25 | 1.3e-05 | 0.002505 | 3.2492
|  | 2022-08-12 14:23 | 50 | [19 empty] | 1.7 | 3.5 | 1.3e-05 | 0.002508 | 3.4989
|  | 2022-08-12 14:23 | 51 | [19 empty] | 1.7 | 3.75 | 1.3e-05 | 0.002514 | 3.7493
|  | 2022-08-12 14:23 | 52 | [19 empty] | 1.7 | 4 | 1.3e-05 | 0.002518 | 3.9981
|  | 2022-08-12 14:23 | 53 | [19 empty] | 1.7 | 4.25 | 1.3e-05 | 0.002522 | 4.2486
|  | 2022-08-12 14:23 | 54 | [19 empty] | 1.7 | 4.5 | 1.3e-05 | 0.002519 | 4.4983
|  | 2022-08-12 14:23 | 55 | [19 empty] | 1.7 | 4.75 | 1.3e-05 | 0.002529 | 4.7487
|  | 2022-08-12 14:23 | 56 | [19 empty] | 1.7 | 5 | 1.3e-05 | 0.002535 | 4.9992
|  | 2022-08-12 14:23 | 57 | [19 empty] | 2.7 | 0 | 3.8e-05 | -4e-05 | 0.001348
|  | 2022-08-12 14:23 | 58 | [19 empty] | 2.7 | 0.25 | 2.4e-05 | 0.003903 | 0.25016
|  | 2022-08-12 14:23 | 59 | [19 empty] | 2.7 | 0.5 | 2.3e-05 | 0.004793 | 0.49896
|  | 2022-08-12 14:23 | 60 | [19 empty] | 2.7 | 0.75 | 2.3e-05 | 0.004812 | 0.74944
|  | 2022-08-12 14:23 | 61 | [19 empty] | 2.7 | 1 | 2.2e-05 | 0.004826 | 1.0008
|  | 2022-08-12 14:23 | 62 | [19 empty] | 2.7 | 1.25 | 2.3e-05 | 0.004839 | 1.2487
|  | 2022-08-12 14:23 | 63 | [19 empty] | 2.7 | 1.5 | 2.3e-05 | 0.004851 | 1.5
|  | 2022-08-12 14:24 | 64 | [19 empty] | 2.7 | 1.75 | 2.2e-05 | 0.004863 | 1.7489
|  | 2022-08-12 14:24 | 65 | [19 empty] | 2.7 | 2 | 2.2e-05 | 0.004873 | 1.9993
|  | 2022-08-12 14:24 | 66 | [19 empty] | 2.7 | 2.25 | 2.2e-05 | 0.004884 | 2.249
|  | 2022-08-12 14:24 | 67 | [19 empty] | 2.7 | 2.5 | 2.2e-05 | 0.004895 | 2.4995
|  | 2022-08-12 14:24 | 68 | [19 empty] | 2.7 | 2.75 | 2.2e-05 | 0.004905 | 2.7499
|  | 2022-08-12 14:24 | 69 | [19 empty] | 2.7 | 3 | 2.2e-05 | 0.004915 | 2.9987
|  | 2022-08-12 14:24 | 70 | [19 empty] | 2.7 | 3.25 | 2.2e-05 | 0.004925 | 3.2492
|  | 2022-08-12 14:24 | 71 | [19 empty] | 2.7 | 3.5 | 2.2e-05 | 0.004935 | 3.4989
|  | 2022-08-12 14:24 | 72 | [19 empty] | 2.7 | 3.75 | 2.2e-05 | 0.004945 | 3.7493
|  | 2022-08-12 14:24 | 73 | [19 empty] | 2.7 | 4 | 2.2e-05 | 0.004955 | 3.9981
|  | 2022-08-12 14:24 | 74 | [19 empty] | 2.7 | 4.25 | 2.2e-05 | 0.004966 | 4.2495
|  | 2022-08-12 14:24 | 75 | [19 empty] | 2.7 | 4.5 | 2.2e-05 | 0.004975 | 4.4983
|  | 2022-08-12 14:24 | 76 | [19 empty] | 2.7 | 4.75 | 2.3e-05 | 0.004985 | 4.7487
|  | 2022-08-12 14:24 | 77 | [19 empty] | 2.7 | 5 | 2.2e-05 | 0.004995 | 4.9992
|  | 2022-08-12 14:24 | 78 | [19 empty] | 3.7 | 0 | 4.2e-05 | -5e-05 | 0.002183
|  | 2022-08-12 14:24 | 79 | [19 empty] | 3.7 | 0.25 | 3.4e-05 | 0.005679 | 0.25016
|  | 2022-08-12 14:24 | 80 | [19 empty] | 3.7 | 0.5 | 3.3e-05 | 0.007102 | 0.49896
|  | 2022-08-12 14:24 | 81 | [19 empty] | 3.7 | 0.75 | 3.3e-05 | 0.007136 | 0.74944
|  | 2022-08-12 14:24 | 82 | [19 empty] | 3.7 | 1 | 3.2e-05 | 0.007159 | 0.99992
|  | 2022-08-12 14:24 | 83 | [19 empty] | 3.7 | 1.25 | 3.3e-05 | 0.007181 | 1.2496
|  | 2022-08-12 14:24 | 84 | [19 empty] | 3.7 | 1.5 | 3.2e-05 | 0.007201 | 1.5
|  | 2022-08-12 14:24 | 85 | [19 empty] | 3.7 | 1.75 | 3.2e-05 | 0.007216 | 1.7489
|  | 2022-08-12 14:24 | 86 | [19 empty] | 3.7 | 2 | 3.2e-05 | 0.007237 | 1.9993
|  | 2022-08-12 14:24 | 87 | [19 empty] | 3.7 | 2.25 | 3.2e-05 | 0.007253 | 2.249
|  | 2022-08-12 14:24 | 88 | [19 empty] | 3.7 | 2.5 | 3.2e-05 | 0.007271 | 2.4995
|  | 2022-08-12 14:24 | 89 | [19 empty] | 3.7 | 2.75 | 3.2e-05 | 0.007289 | 2.7499
|  | 2022-08-12 14:24 | 90 | [19 empty] | 3.7 | 3 | 3.2e-05 | 0.007306 | 2.9987
|  | 2022-08-12 14:24 | 91 | [19 empty] | 3.7 | 3.25 | 3.2e-05 | 0.007323 | 3.2492
|  | 2022-08-12 14:24 | 92 | [19 empty] | 3.7 | 3.5 | 3.2e-05 | 0.007341 | 3.4989
|  | 2022-08-12 14:24 | 93 | [19 empty] | 3.7 | 3.75 | 3.2e-05 | 0.007357 | 3.7493
|  | 2022-08-12 14:24 | 94 | [19 empty] | 3.7 | 4 | 3.2e-05 | 0.007375 | 3.9981
|  | 2022-08-12 14:24 | 95 | [19 empty] | 3.7 | 4.25 | 3.2e-05 | 0.007391 | 4.2486
|  | 2022-08-12 14:24 | 96 | [19 empty] | 3.7 | 4.5 | 3.2e-05 | 0.007408 | 4.4983
|  | 2022-08-12 14:24 | 97 | [19 empty] | 3.7 | 4.75 | 3.2e-05 | 0.007426 | 4.7487
|  | 2022-08-12 14:24 | 98 | [19 empty] | 3.7 | 5 | 3.2e-05 | 0.007444 | 4.9992
|  | 2022-08-12 14:24 | 99 | [19 empty] | 4.7 | 0 | 6e-05 | -5.9e-05 | 0.002183
|  | 2022-08-12 14:24 | 100 | [19 empty] | 4.7 | 0.25 | 4.3e-05 | 0.007291 | 0.24932
|  | 2022-08-12 14:24 | 101 | [19 empty] | 4.7 | 0.5 | 4.2e-05 | 0.009361 | 0.49896
|  | 2022-08-12 14:24 | 102 | [19 empty] | 4.7 | 0.75 | 4.2e-05 | 0.009422 | 0.74944
|  | 2022-08-12 14:24 | 103 | [19 empty] | 4.7 | 1 | 4.2e-05 | 0.009457 | 0.99992
|  | 2022-08-12 14:24 | 104 | [19 empty] | 4.7 | 1.25 | 4.1e-05 | 0.009486 | 1.2496
|  | 2022-08-12 14:24 | 105 | [19 empty] | 4.7 | 1.5 | 4.2e-05 | 0.009512 | 1.5
|  | 2022-08-12 14:24 | 106 | [19 empty] | 4.7 | 1.75 | 4.1e-05 | 0.009537 | 1.7489
|  | 2022-08-12 14:24 | 107 | [19 empty] | 4.7 | 2 | 4.1e-05 | 0.009563 | 2.0002
|  | 2022-08-12 14:24 | 108 | [19 empty] | 4.7 | 2.25 | 4.1e-05 | 0.009587 | 2.249
|  | 2022-08-12 14:24 | 109 | [19 empty] | 4.7 | 2.5 | 4.1e-05 | 0.009612 | 2.4995
|  | 2022-08-12 14:24 | 110 | [19 empty] | 4.7 | 2.75 | 4.2e-05 | 0.009637 | 2.7499
|  | 2022-08-12 14:24 | 111 | [19 empty] | 4.7 | 3 | 4.1e-05 | 0.00966 | 2.9987
|  | 2022-08-12 14:24 | 112 | [19 empty] | 4.7 | 3.25 | 4.1e-05 | 0.009686 | 3.2501
|  | 2022-08-12 14:24 | 113 | [19 empty] | 4.7 | 3.5 | 4.2e-05 | 0.009709 | 3.4989
|  | 2022-08-12 14:24 | 114 | [19 empty] | 4.7 | 3.75 | 4.1e-05 | 0.009733 | 3.7493
|  | 2022-08-12 14:24 | 115 | [19 empty] | 4.7 | 4 | 4.1e-05 | 0.009757 | 3.9981
|  | 2022-08-12 14:24 | 116 | [19 empty] | 4.7 | 4.25 | 4.1e-05 | 0.009782 | 4.2486
|  | 2022-08-12 14:24 | 117 | [19 empty] | 4.7 | 4.5 | 4.1e-05 | 0.009807 | 4.4983
|  | 2022-08-12 14:24 | 118 | [19 empty] | 4.7 | 4.75 | 4.1e-05 | 0.009834 | 4.7487
|  | 2022-08-12 14:24 | 119 | [19 empty] | 4.7 | 5 | 4.1e-05 | 0.009858 | 4.9992
|  | 2022-08-12 14:24 | 120 | [19 empty] | 5.7 | 0 | 6.2e-05 | -6.9e-05 | 0.003018
|  | 2022-08-12 14:24 | 121 | [19 empty] | 5.7 | 0.25 | 5.2e-05 | 0.008751 | 0.25016
|  | 2022-08-12 14:24 | 122 | [19 empty] | 5.7 | 0.5 | 5.1e-05 | 0.011521 | 0.49896
|  | 2022-08-12 14:24 | 123 | [19 empty] | 5.7 | 0.75 | 5.1e-05 | 0.011651 | 0.74944
|  | 2022-08-12 14:24 | 124 | [19 empty] | 5.7 | 1 | 5.1e-05 | 0.011703 | 0.99992
|  | 2022-08-12 14:24 | 125 | [19 empty] | 5.7 | 1.25 | 5.1e-05 | 0.011743 | 1.2496
|  | 2022-08-12 14:24 | 126 | [19 empty] | 5.7 | 1.5 | 5.1e-05 | 0.011779 | 1.5
|  | 2022-08-12 14:24 | 127 | [19 empty] | 5.7 | 1.75 | 5.1e-05 | 0.011812 | 1.7489
|  | 2022-08-12 14:24 | 128 | [19 empty] | 5.7 | 2 | 5.1e-05 | 0.011846 | 1.9993
|  | 2022-08-12 14:24 | 129 | [19 empty] | 5.7 | 2.25 | 5.1e-05 | 0.011879 | 2.249
|  | 2022-08-12 14:24 | 130 | [19 empty] | 5.7 | 2.5 | 5.1e-05 | 0.011912 | 2.4995
|  | 2022-08-12 14:24 | 131 | [19 empty] | 5.7 | 2.75 | 5.1e-05 | 0.011944 | 2.7499
|  | 2022-08-12 14:24 | 132 | [19 empty] | 5.7 | 3 | 5e-05 | 0.011978 | 2.9987
|  | 2022-08-12 14:24 | 133 | [19 empty] | 5.7 | 3.25 | 5.1e-05 | 0.012013 | 3.2501
|  | 2022-08-12 14:25 | 134 | [19 empty] | 5.7 | 3.5 | 5e-05 | 0.012048 | 3.4989
|  | 2022-08-12 14:25 | 135 | [19 empty] | 5.7 | 3.75 | 5.1e-05 | 0.012083 | 3.7493
|  | 2022-08-12 14:25 | 136 | [19 empty] | 5.7 | 4 | 5.1e-05 | 0.012116 | 3.9981
|  | 2022-08-12 14:25 | 137 | [19 empty] | 5.7 | 4.25 | 5.1e-05 | 0.012151 | 4.2486
|  | 2022-08-12 14:25 | 138 | [19 empty] | 5.7 | 4.5 | 5.1e-05 | 0.012186 | 4.4983
|  | 2022-08-12 14:25 | 139 | [19 empty] | 5.7 | 4.75 | 5.1e-05 | 0.012221 | 4.7487
|  | 2022-08-12 14:25 | 140 | [19 empty] | 5.7 | 5 | 5.1e-05 | 0.012257 | 4.9992
|  | 2022-08-12 14:25 | 141 | [19 empty] | 5.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:25 | 142 | [25 empty] | 0