## Sheet1
Instrument in Sequence | 1 - E36312A - USB0::0x2A8D::0x1102::MY59002591::0::INSTR | Time | Step | 1 - Set CH2 On/Off (VCE) | 1 - Set CH3 On/Off (VBB) | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | 1 - Set CH2 Voltage Range | 1 - Set CH3 Voltage Range | 1 - Set CH2 Current Limit | 1 - Set CH3 Current Limit | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | 1 - Set CH2 Voltage Setting | 1 - Set CH3 Voltage Setting | 1 - Sweep VBB | 1 - Sweep VCE | 1 - Measure IB | 1 - Measure IC | 1 - Measure VCE | 1 - Set CH2 Voltage Setting | 1 - Set CH2 On/Off (VCE) | 1 - Set CH3 On/Off (VBB) ()
Start Time | 44785.6096 | 2022-08-12 14:38 | 1
Stop Time | 44785.611 | 2022-08-12 14:38 | 2
|  | 2022-08-12 14:38 | 3
|  | 2022-08-12 14:38 | 4 | 0
|  | 2022-08-12 14:38 | 5 |  | 0
|  | 2022-08-12 14:39 | 6 |  |  | 0 | 0.02 | 0.0001 | 0.7 | 5.7 | 1 | 0 | 5 | 0.25
|  | 2022-08-12 14:39 | 7 | [11 empty] | 25.75 V
|  | 2022-08-12 14:39 | 8 | [12 empty] | 25.75 V
|  | 2022-08-12 14:39 | 9 | [13 empty] | 0.02
|  | 2022-08-12 14:39 | 10 | [14 empty] | 0.001
|  | 2022-08-12 14:39 | 11 | [15 empty] | 1
|  | 2022-08-12 14:39 | 12 | [16 empty] | 1
|  | 2022-08-12 14:39 | 13 | [17 empty] | 0
|  | 2022-08-12 14:39 | 14 | [18 empty] | 0
|  | 2022-08-12 14:39 | 15 | [19 empty] | 0.7 | 0 | 5e-06 | -1e-05 | 0.000513
|  | 2022-08-12 14:39 | 16 | [19 empty] | 0.7 | 0.25 | 4e-06 | 0.000161 | 0.24932
|  | 2022-08-12 14:39 | 17 | [19 empty] | 0.7 | 0.5 | 3e-06 | 0.000195 | 0.49813
|  | 2022-08-12 14:39 | 18 | [19 empty] | 0.7 | 0.75 | 3e-06 | 0.000196 | 0.74944
|  | 2022-08-12 14:39 | 19 | [19 empty] | 0.7 | 1 | 3e-06 | 0.000196 | 0.99992
|  | 2022-08-12 14:39 | 20 | [19 empty] | 0.7 | 1.25 | 3e-06 | 0.000196 | 1.2487
|  | 2022-08-12 14:39 | 21 | [19 empty] | 0.7 | 1.5 | 3e-06 | 0.000197 | 1.5
|  | 2022-08-12 14:39 | 22 | [19 empty] | 0.7 | 1.75 | 3e-06 | 0.000198 | 1.7489
|  | 2022-08-12 14:39 | 23 | [19 empty] | 0.7 | 2 | 3e-06 | 0.000197 | 1.9993
|  | 2022-08-12 14:39 | 24 | [19 empty] | 0.7 | 2.25 | 3e-06 | 0.000198 | 2.2481
|  | 2022-08-12 14:39 | 25 | [19 empty] | 0.7 | 2.5 | 3e-06 | 0.000198 | 2.4995
|  | 2022-08-12 14:39 | 26 | [19 empty] | 0.7 | 2.75 | 3e-06 | 0.000198 | 2.7499
|  | 2022-08-12 14:39 | 27 | [19 empty] | 0.7 | 3 | 3e-06 | 0.000198 | 2.9987
|  | 2022-08-12 14:39 | 28 | [19 empty] | 0.7 | 3.25 | 3e-06 | 0.000197 | 3.2492
|  | 2022-08-12 14:39 | 29 | [19 empty] | 0.7 | 3.5 | 3e-06 | 0.000198 | 3.4989
|  | 2022-08-12 14:39 | 30 | [19 empty] | 0.7 | 3.75 | 3e-06 | 0.000197 | 3.7493
|  | 2022-08-12 14:39 | 31 | [19 empty] | 0.7 | 4 | 4e-06 | 0.000198 | 3.9981
|  | 2022-08-12 14:39 | 32 | [19 empty] | 0.7 | 4.25 | 3e-06 | 0.000198 | 4.2486
|  | 2022-08-12 14:39 | 33 | [19 empty] | 0.7 | 4.5 | 3e-06 | 0.000198 | 4.4983
|  | 2022-08-12 14:39 | 34 | [19 empty] | 0.7 | 4.75 | 3e-06 | 0.000198 | 4.7487
|  | 2022-08-12 14:39 | 35 | [19 empty] | 0.7 | 5 | 4e-06 | 0.000198 | 4.9992
|  | 2022-08-12 14:39 | 36 | [19 empty] | 0.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:39 | 37 | [19 empty] | 1.7 | 0 | 1.4e-05 | -2.1e-05 | 0.000513
|  | 2022-08-12 14:39 | 38 | [19 empty] | 1.7 | 0.25 | 1.2e-05 | 0.001997 | 0.24932
|  | 2022-08-12 14:39 | 39 | [19 empty] | 1.7 | 0.5 | 1.3e-05 | 0.002443 | 0.49896
|  | 2022-08-12 14:39 | 40 | [19 empty] | 1.7 | 0.75 | 1.2e-05 | 0.002451 | 0.74944
|  | 2022-08-12 14:39 | 41 | [19 empty] | 1.7 | 1 | 1.2e-05 | 0.002458 | 0.99992
|  | 2022-08-12 14:39 | 42 | [19 empty] | 1.7 | 1.25 | 1.2e-05 | 0.002463 | 1.2496
|  | 2022-08-12 14:39 | 43 | [19 empty] | 1.7 | 1.5 | 1.2e-05 | 0.002469 | 1.5
|  | 2022-08-12 14:39 | 44 | [19 empty] | 1.7 | 1.75 | 1.2e-05 | 0.002474 | 1.7489
|  | 2022-08-12 14:39 | 45 | [19 empty] | 1.7 | 2 | 1.3e-05 | 0.002479 | 1.9993
|  | 2022-08-12 14:39 | 46 | [19 empty] | 1.7 | 2.25 | 1.2e-05 | 0.002484 | 2.2481
|  | 2022-08-12 14:39 | 47 | [19 empty] | 1.7 | 2.5 | 1.3e-05 | 0.002489 | 2.4995
|  | 2022-08-12 14:39 | 48 | [19 empty] | 1.7 | 2.75 | 1.2e-05 | 0.002494 | 2.7499
|  | 2022-08-12 14:39 | 49 | [19 empty] | 1.7 | 3 | 1.3e-05 | 0.002499 | 2.9987
|  | 2022-08-12 14:39 | 50 | [19 empty] | 1.7 | 3.25 | 1.2e-05 | 0.002503 | 3.2492
|  | 2022-08-12 14:39 | 51 | [19 empty] | 1.7 | 3.5 | 1.3e-05 | 0.002507 | 3.4989
|  | 2022-08-12 14:39 | 52 | [19 empty] | 1.7 | 3.75 | 1.2e-05 | 0.002511 | 3.7493
|  | 2022-08-12 14:39 | 53 | [19 empty] | 1.7 | 4 | 1.2e-05 | 0.002515 | 3.9981
|  | 2022-08-12 14:39 | 54 | [19 empty] | 1.7 | 4.25 | 1.2e-05 | 0.002518 | 4.2486
|  | 2022-08-12 14:40 | 55 | [19 empty] | 1.7 | 4.5 | 1.2e-05 | 0.002523 | 4.4983
|  | 2022-08-12 14:40 | 56 | [19 empty] | 1.7 | 4.75 | 1.2e-05 | 0.002527 | 4.7487
|  | 2022-08-12 14:40 | 57 | [19 empty] | 1.7 | 5 | 1.2e-05 | 0.002532 | 4.9992
|  | 2022-08-12 14:40 | 58 | [19 empty] | 1.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:40 | 59 | [19 empty] | 2.7 | 0 | 2.4e-05 | -3.1e-05 | 0.001348
|  | 2022-08-12 14:40 | 60 | [19 empty] | 2.7 | 0.25 | 2.2e-05 | 0.003902 | 0.24932
|  | 2022-08-12 14:40 | 61 | [19 empty] | 2.7 | 0.5 | 2.2e-05 | 0.004783 | 0.49896
|  | 2022-08-12 14:40 | 62 | [19 empty] | 2.7 | 0.75 | 2.2e-05 | 0.004802 | 0.74944
|  | 2022-08-12 14:40 | 63 | [19 empty] | 2.7 | 1 | 2.2e-05 | 0.004816 | 0.99992
|  | 2022-08-12 14:40 | 64 | [19 empty] | 2.7 | 1.25 | 2.2e-05 | 0.004829 | 1.2496
|  | 2022-08-12 14:40 | 65 | [19 empty] | 2.7 | 1.5 | 2.2e-05 | 0.004841 | 1.5
|  | 2022-08-12 14:40 | 66 | [19 empty] | 2.7 | 1.75 | 2.2e-05 | 0.004852 | 1.7489
|  | 2022-08-12 14:40 | 67 | [19 empty] | 2.7 | 2 | 2.2e-05 | 0.004864 | 1.9993
|  | 2022-08-12 14:40 | 68 | [19 empty] | 2.7 | 2.25 | 2.2e-05 | 0.004875 | 2.249
|  | 2022-08-12 14:40 | 69 | [19 empty] | 2.7 | 2.5 | 2.2e-05 | 0.004886 | 2.4995
|  | 2022-08-12 14:40 | 70 | [19 empty] | 2.7 | 2.75 | 2.2e-05 | 0.004897 | 2.7499
|  | 2022-08-12 14:40 | 71 | [19 empty] | 2.7 | 3 | 2.2e-05 | 0.004907 | 2.9987
|  | 2022-08-12 14:40 | 72 | [19 empty] | 2.7 | 3.25 | 2.2e-05 | 0.004917 | 3.2492
|  | 2022-08-12 14:40 | 73 | [19 empty] | 2.7 | 3.5 | 2.2e-05 | 0.004927 | 3.4989
|  | 2022-08-12 14:40 | 74 | [19 empty] | 2.7 | 3.75 | 2.2e-05 | 0.004937 | 3.7493
|  | 2022-08-12 14:40 | 75 | [19 empty] | 2.7 | 4 | 2.2e-05 | 0.004948 | 3.9981
|  | 2022-08-12 14:40 | 76 | [19 empty] | 2.7 | 4.25 | 2.2e-05 | 0.004958 | 4.2486
|  | 2022-08-12 14:40 | 77 | [19 empty] | 2.7 | 4.5 | 2.2e-05 | 0.004968 | 4.4983
|  | 2022-08-12 14:40 | 78 | [19 empty] | 2.7 | 4.75 | 2.2e-05 | 0.004978 | 4.7487
|  | 2022-08-12 14:40 | 79 | [19 empty] | 2.7 | 5 | 2.2e-05 | 0.004988 | 4.9992
|  | 2022-08-12 14:40 | 80 | [19 empty] | 2.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:40 | 81 | [19 empty] | 3.7 | 0 | 3.4e-05 | -4.1e-05 | 0.001348
|  | 2022-08-12 14:40 | 82 | [19 empty] | 3.7 | 0.25 | 3.2e-05 | 0.005672 | 0.24932
|  | 2022-08-12 14:40 | 83 | [19 empty] | 3.7 | 0.5 | 3.1e-05 | 0.007083 | 0.49896
|  | 2022-08-12 14:40 | 84 | [19 empty] | 3.7 | 0.75 | 3.2e-05 | 0.007117 | 0.74944
|  | 2022-08-12 14:40 | 85 | [19 empty] | 3.7 | 1 | 3.1e-05 | 0.007142 | 1.0008
|  | 2022-08-12 14:40 | 86 | [19 empty] | 3.7 | 1.25 | 3.1e-05 | 0.007163 | 1.2496
|  | 2022-08-12 14:40 | 87 | [19 empty] | 3.7 | 1.5 | 3.1e-05 | 0.007182 | 1.5
|  | 2022-08-12 14:40 | 88 | [19 empty] | 3.7 | 1.75 | 3.1e-05 | 0.007201 | 1.7489
|  | 2022-08-12 14:40 | 89 | [19 empty] | 3.7 | 2 | 3.1e-05 | 0.007219 | 1.9993
|  | 2022-08-12 14:40 | 90 | [19 empty] | 3.7 | 2.25 | 3.2e-05 | 0.007237 | 2.249
|  | 2022-08-12 14:40 | 91 | [19 empty] | 3.7 | 2.5 | 3.1e-05 | 0.007258 | 2.4995
|  | 2022-08-12 14:40 | 92 | [19 empty] | 3.7 | 2.75 | 3.1e-05 | 0.007276 | 2.7499
|  | 2022-08-12 14:40 | 93 | [19 empty] | 3.7 | 3 | 3.1e-05 | 0.007293 | 2.9987
|  | 2022-08-12 14:40 | 94 | [19 empty] | 3.7 | 3.25 | 3.1e-05 | 0.00731 | 3.2501
|  | 2022-08-12 14:40 | 95 | [19 empty] | 3.7 | 3.5 | 3.1e-05 | 0.007327 | 3.4989
|  | 2022-08-12 14:40 | 96 | [19 empty] | 3.7 | 3.75 | 3.1e-05 | 0.007344 | 3.7493
|  | 2022-08-12 14:40 | 97 | [19 empty] | 3.7 | 4 | 3.2e-05 | 0.007362 | 3.9981
|  | 2022-08-12 14:40 | 98 | [19 empty] | 3.7 | 4.25 | 3.1e-05 | 0.007379 | 4.2495
|  | 2022-08-12 14:40 | 99 | [19 empty] | 3.7 | 4.5 | 3.1e-05 | 0.007397 | 4.4983
|  | 2022-08-12 14:40 | 100 | [19 empty] | 3.7 | 4.75 | 3.1e-05 | 0.007415 | 4.7487
|  | 2022-08-12 14:40 | 101 | [19 empty] | 3.7 | 5 | 3.1e-05 | 0.007434 | 4.9992
|  | 2022-08-12 14:40 | 102 | [19 empty] | 3.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:40 | 103 | [19 empty] | 4.7 | 0 | 4.3e-05 | -5.1e-05 | 0.002183
|  | 2022-08-12 14:40 | 104 | [19 empty] | 4.7 | 0.25 | 4.1e-05 | 0.00728 | 0.25016
|  | 2022-08-12 14:40 | 105 | [19 empty] | 4.7 | 0.5 | 4.1e-05 | 0.009333 | 0.49896
|  | 2022-08-12 14:40 | 106 | [19 empty] | 4.7 | 0.75 | 4.1e-05 | 0.009394 | 0.74944
|  | 2022-08-12 14:40 | 107 | [19 empty] | 4.7 | 1 | 4.1e-05 | 0.009429 | 0.99992
|  | 2022-08-12 14:40 | 108 | [19 empty] | 4.7 | 1.25 | 4.1e-05 | 0.009458 | 1.2496
|  | 2022-08-12 14:40 | 109 | [19 empty] | 4.7 | 1.5 | 4.1e-05 | 0.009485 | 1.5
|  | 2022-08-12 14:40 | 110 | [19 empty] | 4.7 | 1.75 | 4.1e-05 | 0.009512 | 1.7489
|  | 2022-08-12 14:40 | 111 | [19 empty] | 4.7 | 2 | 4.1e-05 | 0.009537 | 1.9993
|  | 2022-08-12 14:40 | 112 | [19 empty] | 4.7 | 2.25 | 4.1e-05 | 0.009564 | 2.249
|  | 2022-08-12 14:40 | 113 | [19 empty] | 4.7 | 2.5 | 4.1e-05 | 0.009589 | 2.4995
|  | 2022-08-12 14:41 | 114 | [19 empty] | 4.7 | 2.75 | 4e-05 | 0.009614 | 2.7499
|  | 2022-08-12 14:41 | 115 | [19 empty] | 4.7 | 3 | 4.1e-05 | 0.009641 | 2.9987
|  | 2022-08-12 14:41 | 116 | [19 empty] | 4.7 | 3.25 | 4e-05 | 0.009668 | 3.2501
|  | 2022-08-12 14:41 | 117 | [19 empty] | 4.7 | 3.5 | 4.1e-05 | 0.009694 | 3.4989
|  | 2022-08-12 14:41 | 118 | [19 empty] | 4.7 | 3.75 | 4e-05 | 0.009721 | 3.7493
|  | 2022-08-12 14:41 | 119 | [19 empty] | 4.7 | 4 | 4.1e-05 | 0.009746 | 3.9981
|  | 2022-08-12 14:41 | 120 | [19 empty] | 4.7 | 4.25 | 4.1e-05 | 0.009772 | 4.2495
|  | 2022-08-12 14:41 | 121 | [19 empty] | 4.7 | 4.5 | 4e-05 | 0.009798 | 4.4983
|  | 2022-08-12 14:41 | 122 | [19 empty] | 4.7 | 4.75 | 4e-05 | 0.009825 | 4.7487
|  | 2022-08-12 14:41 | 123 | [19 empty] | 4.7 | 5 | 4.1e-05 | 0.009852 | 4.9992
|  | 2022-08-12 14:41 | 124 | [19 empty] | 4.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:41 | 125 | [19 empty] | 5.7 | 0 | 5.3e-05 | -6e-05 | 0.003018
|  | 2022-08-12 14:41 | 126 | [19 empty] | 5.7 | 0.25 | 5.1e-05 | 0.008745 | 0.24932
|  | 2022-08-12 14:41 | 127 | [19 empty] | 5.7 | 0.5 | 5e-05 | 0.01149 | 0.49896
|  | 2022-08-12 14:41 | 128 | [19 empty] | 5.7 | 0.75 | 5e-05 | 0.011618 | 0.74944
|  | 2022-08-12 14:41 | 129 | [19 empty] | 5.7 | 1 | 5.1e-05 | 0.01167 | 0.99992
|  | 2022-08-12 14:41 | 130 | [19 empty] | 5.7 | 1.25 | 5e-05 | 0.011711 | 1.2496
|  | 2022-08-12 14:41 | 131 | [19 empty] | 5.7 | 1.5 | 5e-05 | 0.011748 | 1.5
|  | 2022-08-12 14:41 | 132 | [19 empty] | 5.7 | 1.75 | 5e-05 | 0.011783 | 1.7489
|  | 2022-08-12 14:41 | 133 | [19 empty] | 5.7 | 2 | 5e-05 | 0.011817 | 1.9993
|  | 2022-08-12 14:41 | 134 | [19 empty] | 5.7 | 2.25 | 5e-05 | 0.011852 | 2.249
|  | 2022-08-12 14:41 | 135 | [19 empty] | 5.7 | 2.5 | 5e-05 | 0.011887 | 2.4995
|  | 2022-08-12 14:41 | 136 | [19 empty] | 5.7 | 2.75 | 5e-05 | 0.01192 | 2.7499
|  | 2022-08-12 14:41 | 137 | [19 empty] | 5.7 | 3 | 5e-05 | 0.011954 | 2.9987
|  | 2022-08-12 14:41 | 138 | [19 empty] | 5.7 | 3.25 | 5e-05 | 0.011987 | 3.2492
|  | 2022-08-12 14:41 | 139 | [19 empty] | 5.7 | 3.5 | 5e-05 | 0.012021 | 3.4989
|  | 2022-08-12 14:41 | 140 | [19 empty] | 5.7 | 3.75 | 5e-05 | 0.012054 | 3.7493
|  | 2022-08-12 14:41 | 141 | [19 empty] | 5.7 | 4 | 5.1e-05 | 0.012089 | 3.9981
|  | 2022-08-12 14:41 | 142 | [19 empty] | 5.7 | 4.25 | 5e-05 | 0.012125 | 4.2486
|  | 2022-08-12 14:41 | 143 | [19 empty] | 5.7 | 4.5 | 5e-05 | 0.012162 | 4.4983
|  | 2022-08-12 14:41 | 144 | [19 empty] | 5.7 | 4.75 | 5e-05 | 0.012198 | 4.7487
|  | 2022-08-12 14:41 | 145 | [19 empty] | 5.7 | 5 | 5.1e-05 | 0.012051 | 4.9992
|  | 2022-08-12 14:41 | 146 | [19 empty] | 5.7 | 5 |  |  |  | 0
|  | 2022-08-12 14:41 | 147 | [19 empty] | 5.7 | [5 empty] | 0
|  | 2022-08-12 14:41 | 148 | [26 empty] | 0