## Sheet1
Instrument in Sequence | 1 - E36312A - USB0::0x2A8D::0x1102::MY59002591::0::INSTR | Time | Step | 1 - Set CH2 On/Off (VDS) | 1 - Set CH3 On/Off (VGS) | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | 1 - Set CH2 Voltage Range | 1 - Set CH3 Voltage Range | 1 - Set CH2 Current Limit | 1 - Set CH3 Current Limit | 1 - Set CH2 On/Off (VDS) | 1 - Set CH3 On/Off (VGS) | 1 - Set CH2 Voltage Setting | 1 - Set CH3 Voltage Setting | 1 - Sweep VGS | 1 - Sweep VDS | 1 - Measure ID | 1 - Measure IG | 1 - Measure VDS | 1 - Measure VGS | 1 - Set CH2 On/Off (VDS) | 1 - Set CH3 On/Off (VGS) ()
Start Time | 44784.7358 | 2022-08-11 17:40 | 1
Stop Time | 44784.7383 | 2022-08-11 17:40 | 2
|  | 2022-08-11 17:40 | 3 | 0
|  | 2022-08-11 17:40 | 4 |  | 0
|  | 2022-08-11 17:41 | 5 |  |  | 0 | 0.01 | 0 | 3 | 1 | 0 | 10 | 0.25
|  | 2022-08-11 17:41 | 6 | [10 empty] | 25.75 V
|  | 2022-08-11 17:41 | 7 | [11 empty] | 25.75 V
|  | 2022-08-11 17:41 | 8 | [12 empty] | 0.01
|  | 2022-08-11 17:41 | 9 | [13 empty] | 0.001
|  | 2022-08-11 17:41 | 10 | [14 empty] | 1
|  | 2022-08-11 17:41 | 11 | [15 empty] | 1
|  | 2022-08-11 17:41 | 12 | [16 empty] | 0
|  | 2022-08-11 17:41 | 13 | [17 empty] | 0
|  | 2022-08-11 17:41 | 14 | [18 empty] | 0 | 0 | -4e-06 | 1e-06 | 0.000513 | 5.9e-05
|  | 2022-08-11 17:41 | 15 | [18 empty] | 0 | 0.25 | 1.2e-05 | 1e-06 | 0.24932 | 5.9e-05
|  | 2022-08-11 17:41 | 16 | [18 empty] | 0 | 0.5 | 1.2e-05 | 1e-06 | 0.49813 | 5.9e-05
|  | 2022-08-11 17:41 | 17 | [18 empty] | 0 | 0.75 | 1.2e-05 | 1e-06 | 0.74944 | 5.9e-05
|  | 2022-08-11 17:41 | 18 | [18 empty] | 0 | 1 | 1.1e-05 | 1e-06 | 0.99992 | 5.9e-05
|  | 2022-08-11 17:41 | 19 | [18 empty] | 0 | 1.25 | 1.2e-05 | 1e-06 | 1.2487 | 5.9e-05
|  | 2022-08-11 17:41 | 20 | [18 empty] | 0 | 1.5 | 1.2e-05 | 1e-06 | 1.4992 | 5.9e-05
|  | 2022-08-11 17:41 | 21 | [18 empty] | 0 | 1.75 | 1.2e-05 | 1e-06 | 1.7489 | 5.9e-05
|  | 2022-08-11 17:41 | 22 | [18 empty] | 0 | 2 | 1.1e-05 | 1e-06 | 1.9993 | 5.9e-05
|  | 2022-08-11 17:41 | 23 | [18 empty] | 0 | 2.25 | 1.1e-05 | 1e-06 | 2.2481 | 5.9e-05
|  | 2022-08-11 17:41 | 24 | [18 empty] | 0 | 2.5 | 1.1e-05 | 1e-06 | 2.4995 | 5.9e-05
|  | 2022-08-11 17:41 | 25 | [18 empty] | 0 | 2.75 | 1.1e-05 | 1e-06 | 2.7499 | 5.9e-05
|  | 2022-08-11 17:41 | 26 | [18 empty] | 0 | 3 | 1e-05 | 1e-06 | 2.9987 | 5.9e-05
|  | 2022-08-11 17:41 | 27 | [18 empty] | 0 | 3.25 | 1.1e-05 | 1e-06 | 3.2492 | 5.9e-05
|  | 2022-08-11 17:41 | 28 | [18 empty] | 0 | 3.5 | 1e-05 | 1e-06 | 3.498 | 5.9e-05
|  | 2022-08-11 17:41 | 29 | [18 empty] | 0 | 3.75 | 1e-05 | 1e-06 | 3.7493 | 5.9e-05
|  | 2022-08-11 17:41 | 30 | [18 empty] | 0 | 4 | 1e-05 | 1e-06 | 3.9981 | 5.9e-05
|  | 2022-08-11 17:41 | 31 | [18 empty] | 0 | 4.25 | 1e-05 | 1e-06 | 4.2486 | 5.9e-05
|  | 2022-08-11 17:41 | 32 | [18 empty] | 0 | 4.5 | 1e-05 | 0 | 4.4983 | 5.9e-05
|  | 2022-08-11 17:41 | 33 | [18 empty] | 0 | 4.75 | 1e-05 | 1e-06 | 4.7487 | 5.9e-05
|  | 2022-08-11 17:41 | 34 | [18 empty] | 0 | 5 | 1e-05 | 1e-06 | 4.9992 | 5.9e-05
|  | 2022-08-11 17:41 | 35 | [18 empty] | 0 | 5.25 | 1e-05 | 1e-06 | 5.248 | 5.9e-05
|  | 2022-08-11 17:41 | 36 | [18 empty] | 0 | 5.5 | 9e-06 | 1e-06 | 5.4993 | 5.9e-05
|  | 2022-08-11 17:41 | 37 | [18 empty] | 0 | 5.75 | 9e-06 | 1e-06 | 5.7482 | 5.9e-05
|  | 2022-08-11 17:41 | 38 | [18 empty] | 0 | 6 | 8e-06 | 1e-06 | 5.9986 | 5.9e-05
|  | 2022-08-11 17:41 | 39 | [18 empty] | 0 | 6.25 | 9e-06 | 1e-06 | 6.2474 | 5.9e-05
|  | 2022-08-11 17:41 | 40 | [18 empty] | 0 | 6.5 | 9e-06 | 1e-06 | 6.4988 | 5.9e-05
|  | 2022-08-11 17:41 | 41 | [18 empty] | 0 | 6.75 | 9e-06 | 1e-06 | 6.7492 | 5.9e-05
|  | 2022-08-11 17:41 | 42 | [18 empty] | 0 | 7 | 8e-06 | 1e-06 | 6.998 | 5.9e-05
|  | 2022-08-11 17:41 | 43 | [18 empty] | 0 | 7.25 | 8e-06 | 1e-06 | 7.2494 | 5.9e-05
|  | 2022-08-11 17:41 | 44 | [18 empty] | 0 | 7.5 | 8e-06 | 1e-06 | 7.4982 | 5.9e-05
|  | 2022-08-11 17:41 | 45 | [18 empty] | 0 | 7.75 | 8e-06 | 1e-06 | 7.7486 | 5.9e-05
|  | 2022-08-11 17:41 | 46 | [18 empty] | 0 | 8 | 7e-06 | 1e-06 | 7.9983 | 5.9e-05
|  | 2022-08-11 17:41 | 47 | [18 empty] | 0 | 8.25 | 7e-06 | 1e-06 | 8.2488 | 5.9e-05
|  | 2022-08-11 17:41 | 48 | [18 empty] | 0 | 8.5 | 7e-06 | 1e-06 | 8.4992 | 5.9e-05
|  | 2022-08-11 17:41 | 49 | [18 empty] | 0 | 8.75 | 7e-06 | 1e-06 | 8.7481 | 5.9e-05
|  | 2022-08-11 17:41 | 50 | [18 empty] | 0 | 9 | 7e-06 | 1e-06 | 8.9985 | 5.9e-05
|  | 2022-08-11 17:41 | 51 | [18 empty] | 0 | 9.25 | 8e-06 | 1e-06 | 9.2482 | 5.9e-05
|  | 2022-08-11 17:41 | 52 | [18 empty] | 0 | 9.5 | 7e-06 | 1e-06 | 9.4987 | 5.9e-05
|  | 2022-08-11 17:41 | 53 | [18 empty] | 0 | 9.75 | 7e-06 | 0 | 9.7483 | 5.9e-05
|  | 2022-08-11 17:41 | 54 | [18 empty] | 0 | 10 | 7e-06 | 1e-06 | 9.9988 | 5.9e-05
|  | 2022-08-11 17:41 | 55 | [18 empty] | 1 | 0 | -8.6e-05 | 5e-06 | 0.000513 | 0.9987
|  | 2022-08-11 17:41 | 56 | [18 empty] | 1 | 0.25 | 1e-06 | 3e-06 | 0.25016 | 0.9987
|  | 2022-08-11 17:41 | 57 | [18 empty] | 1 | 0.5 | 5e-06 | 3e-06 | 0.49896 | 0.9987
|  | 2022-08-11 17:41 | 58 | [18 empty] | 1 | 0.75 | 8e-06 | 3e-06 | 0.74944 | 0.9987
|  | 2022-08-11 17:41 | 59 | [18 empty] | 1 | 1 | 8e-06 | 3e-06 | 0.99992 | 0.9987
|  | 2022-08-11 17:41 | 60 | [18 empty] | 1 | 1.25 | 8e-06 | 3e-06 | 1.2496 | 0.9987
|  | 2022-08-11 17:41 | 61 | [18 empty] | 1 | 1.5 | 9e-06 | 3e-06 | 1.5 | 0.9987
|  | 2022-08-11 17:41 | 62 | [18 empty] | 1 | 1.75 | 8e-06 | 3e-06 | 1.7489 | 0.9987
|  | 2022-08-11 17:41 | 63 | [18 empty] | 1 | 2 | 1e-05 | 2e-06 | 1.9993 | 0.9987
|  | 2022-08-11 17:42 | 64 | [18 empty] | 1 | 2.25 | 1e-05 | 2e-06 | 2.249 | 0.9987
|  | 2022-08-11 17:42 | 65 | [18 empty] | 1 | 2.5 | 9e-06 | 3e-06 | 2.4995 | 0.9987
|  | 2022-08-11 17:42 | 66 | [18 empty] | 1 | 2.75 | 9e-06 | 3e-06 | 2.7499 | 0.9987
|  | 2022-08-11 17:42 | 67 | [18 empty] | 1 | 3 | 9e-06 | 3e-06 | 2.9987 | 0.9987
|  | 2022-08-11 17:42 | 68 | [18 empty] | 1 | 3.25 | 8e-06 | 3e-06 | 3.2492 | 0.9987
|  | 2022-08-11 17:42 | 69 | [18 empty] | 1 | 3.5 | 9e-06 | 2e-06 | 3.4989 | 0.9987
|  | 2022-08-11 17:42 | 70 | [18 empty] | 1 | 3.75 | 8e-06 | 2e-06 | 3.7493 | 0.9987
|  | 2022-08-11 17:42 | 71 | [18 empty] | 1 | 4 | 9e-06 | 2e-06 | 3.9981 | 0.9987
|  | 2022-08-11 17:42 | 72 | [18 empty] | 1 | 4.25 | 8e-06 | 2e-06 | 4.2486 | 0.9987
|  | 2022-08-11 17:42 | 73 | [18 empty] | 1 | 4.5 | 8e-06 | 2e-06 | 4.4983 | 0.9987
|  | 2022-08-11 17:42 | 74 | [18 empty] | 1 | 4.75 | 8e-06 | 2e-06 | 4.7487 | 0.9987
|  | 2022-08-11 17:42 | 75 | [18 empty] | 1 | 5 | 8e-06 | 3e-06 | 4.9992 | 0.99953
|  | 2022-08-11 17:42 | 76 | [18 empty] | 1 | 5.25 | 8e-06 | 3e-06 | 5.248 | 0.9987
|  | 2022-08-11 17:42 | 77 | [18 empty] | 1 | 5.5 | 7e-06 | 3e-06 | 5.4993 | 0.9987
|  | 2022-08-11 17:42 | 78 | [18 empty] | 1 | 5.75 | 8e-06 | 3e-06 | 5.7482 | 0.9987
|  | 2022-08-11 17:42 | 79 | [18 empty] | 1 | 6 | 8e-06 | 2e-06 | 5.9986 | 0.9987
|  | 2022-08-11 17:42 | 80 | [18 empty] | 1 | 6.25 | 8e-06 | 2e-06 | 6.2474 | 0.9987
|  | 2022-08-11 17:42 | 81 | [18 empty] | 1 | 6.5 | 7e-06 | 2e-06 | 6.4988 | 0.9987
|  | 2022-08-11 17:42 | 82 | [18 empty] | 1 | 6.75 | 7e-06 | 2e-06 | 6.7492 | 0.9987
|  | 2022-08-11 17:42 | 83 | [18 empty] | 1 | 7 | 7e-06 | 3e-06 | 6.9989 | 0.9987
|  | 2022-08-11 17:42 | 84 | [18 empty] | 1 | 7.25 | 6e-06 | 3e-06 | 7.2494 | 0.9987
|  | 2022-08-11 17:42 | 85 | [18 empty] | 1 | 7.5 | 7e-06 | 3e-06 | 7.4982 | 0.9987
|  | 2022-08-11 17:42 | 86 | [18 empty] | 1 | 7.75 | 6e-06 | 3e-06 | 7.7486 | 0.9987
|  | 2022-08-11 17:42 | 87 | [18 empty] | 1 | 8 | 7e-06 | 2e-06 | 7.9983 | 0.9987
|  | 2022-08-11 17:42 | 88 | [18 empty] | 1 | 8.25 | 7e-06 | 3e-06 | 8.2488 | 0.99953
|  | 2022-08-11 17:42 | 89 | [18 empty] | 1 | 8.5 | 6e-06 | 3e-06 | 8.4992 | 0.9987
|  | 2022-08-11 17:42 | 90 | [18 empty] | 1 | 8.75 | 6e-06 | 2e-06 | 8.7481 | 0.9987
|  | 2022-08-11 17:42 | 91 | [18 empty] | 1 | 9 | 6e-06 | 3e-06 | 8.9994 | 0.9987
|  | 2022-08-11 17:42 | 92 | [18 empty] | 1 | 9.25 | 6e-06 | 3e-06 | 9.2482 | 0.9987
|  | 2022-08-11 17:42 | 93 | [18 empty] | 1 | 9.5 | 6e-06 | 3e-06 | 9.4987 | 0.9987
|  | 2022-08-11 17:42 | 94 | [18 empty] | 1 | 9.75 | 6e-06 | 3e-06 | 9.7483 | 0.9987
|  | 2022-08-11 17:42 | 95 | [18 empty] | 1 | 10 | 6e-06 | 3e-06 | 9.9988 | 0.9987
|  | 2022-08-11 17:42 | 96 | [18 empty] | 2 | 0 | -5.6e-05 | 5e-06 | 0.000513 | 1.9998
|  | 2022-08-11 17:42 | 97 | [18 empty] | 2 | 0.25 | 0.000146 | 3e-06 | 0.25016 | 1.9998
|  | 2022-08-11 17:42 | 98 | [18 empty] | 2 | 0.5 | 0.000165 | 3e-06 | 0.49896 | 1.9998
|  | 2022-08-11 17:42 | 99 | [18 empty] | 2 | 0.75 | 0.000171 | 3e-06 | 0.74944 | 1.9998
|  | 2022-08-11 17:42 | 100 | [18 empty] | 2 | 1 | 0.000172 | 3e-06 | 0.99992 | 1.9998
|  | 2022-08-11 17:42 | 101 | [18 empty] | 2 | 1.25 | 0.000173 | 2e-06 | 1.2496 | 1.9998
|  | 2022-08-11 17:42 | 102 | [18 empty] | 2 | 1.5 | 0.000174 | 2e-06 | 1.5 | 1.9998
|  | 2022-08-11 17:42 | 103 | [18 empty] | 2 | 1.75 | 0.000175 | 2e-06 | 1.7489 | 1.9998
|  | 2022-08-11 17:42 | 104 | [18 empty] | 2 | 2 | 0.000176 | 2e-06 | 1.9993 | 1.9998
|  | 2022-08-11 17:42 | 105 | [18 empty] | 2 | 2.25 | 0.000175 | 2e-06 | 2.249 | 1.9998
|  | 2022-08-11 17:42 | 106 | [18 empty] | 2 | 2.5 | 0.000177 | 2e-06 | 2.4995 | 1.9998
|  | 2022-08-11 17:42 | 107 | [18 empty] | 2 | 2.75 | 0.000178 | 2e-06 | 2.7499 | 1.9998
|  | 2022-08-11 17:42 | 108 | [18 empty] | 2 | 3 | 0.000178 | 2e-06 | 2.9987 | 1.9998
|  | 2022-08-11 17:42 | 109 | [18 empty] | 2 | 3.25 | 0.000178 | 2e-06 | 3.2492 | 1.9998
|  | 2022-08-11 17:42 | 110 | [18 empty] | 2 | 3.5 | 0.000178 | 3e-06 | 3.4989 | 1.9998
|  | 2022-08-11 17:42 | 111 | [18 empty] | 2 | 3.75 | 0.000179 | 2e-06 | 3.7493 | 1.9998
|  | 2022-08-11 17:42 | 112 | [18 empty] | 2 | 4 | 0.000179 | 2e-06 | 3.9981 | 1.9998
|  | 2022-08-11 17:42 | 113 | [18 empty] | 2 | 4.25 | 0.000179 | 2e-06 | 4.2486 | 1.9998
|  | 2022-08-11 17:42 | 114 | [18 empty] | 2 | 4.5 | 0.000179 | 2e-06 | 4.4983 | 1.9998
|  | 2022-08-11 17:42 | 115 | [18 empty] | 2 | 4.75 | 0.000179 | 2e-06 | 4.7487 | 1.9998
|  | 2022-08-11 17:42 | 116 | [18 empty] | 2 | 5 | 0.000179 | 2e-06 | 4.9992 | 1.9998
|  | 2022-08-11 17:42 | 117 | [18 empty] | 2 | 5.25 | 0.000179 | 2e-06 | 5.248 | 1.9998
|  | 2022-08-11 17:42 | 118 | [18 empty] | 2 | 5.5 | 0.000179 | 3e-06 | 5.4993 | 1.9998
|  | 2022-08-11 17:42 | 119 | [18 empty] | 2 | 5.75 | 0.000179 | 2e-06 | 5.7482 | 1.9998
|  | 2022-08-11 17:42 | 120 | [18 empty] | 2 | 6 | 0.00018 | 2e-06 | 5.9986 | 1.9998
|  | 2022-08-11 17:42 | 121 | [18 empty] | 2 | 6.25 | 0.00018 | 2e-06 | 6.2483 | 1.9998
|  | 2022-08-11 17:42 | 122 | [18 empty] | 2 | 6.5 | 0.000179 | 2e-06 | 6.4988 | 1.9998
|  | 2022-08-11 17:42 | 123 | [18 empty] | 2 | 6.75 | 0.00018 | 2e-06 | 6.7492 | 1.9998
|  | 2022-08-11 17:42 | 124 | [18 empty] | 2 | 7 | 0.00018 | 2e-06 | 6.998 | 1.9998
|  | 2022-08-11 17:42 | 125 | [18 empty] | 2 | 7.25 | 0.000179 | 2e-06 | 7.2494 | 1.9998
|  | 2022-08-11 17:42 | 126 | [18 empty] | 2 | 7.5 | 0.000179 | 2e-06 | 7.4982 | 1.9998
|  | 2022-08-11 17:42 | 127 | [18 empty] | 2 | 7.75 | 0.00018 | 2e-06 | 7.7486 | 1.9998
|  | 2022-08-11 17:43 | 128 | [18 empty] | 2 | 8 | 0.000181 | 2e-06 | 7.9983 | 1.9998
|  | 2022-08-11 17:43 | 129 | [18 empty] | 2 | 8.25 | 0.00018 | 2e-06 | 8.2488 | 1.9998
|  | 2022-08-11 17:43 | 130 | [18 empty] | 2 | 8.5 | 0.000181 | 2e-06 | 8.4992 | 1.9998
|  | 2022-08-11 17:43 | 131 | [18 empty] | 2 | 8.75 | 0.000181 | 2e-06 | 8.7489 | 1.9998
|  | 2022-08-11 17:43 | 132 | [18 empty] | 2 | 9 | 0.000182 | 2e-06 | 8.9994 | 1.9998
|  | 2022-08-11 17:43 | 133 | [18 empty] | 2 | 9.25 | 0.000181 | 2e-06 | 9.2482 | 1.9998
|  | 2022-08-11 17:43 | 134 | [18 empty] | 2 | 9.5 | 0.000181 | 2e-06 | 9.4995 | 1.9998
|  | 2022-08-11 17:43 | 135 | [18 empty] | 2 | 9.75 | 0.00018 | 2e-06 | 9.7483 | 1.9998
|  | 2022-08-11 17:43 | 136 | [18 empty] | 2 | 10 | 0.000182 | 2e-06 | 9.9988 | 1.9998
|  | 2022-08-11 17:43 | 137 | [18 empty] | 3 | 0 | -8.6e-05 | 5e-06 | 0.001348 | 2.9985
|  | 2022-08-11 17:43 | 138 | [18 empty] | 3 | 0.25 | 0.000537 | 3e-06 | 0.25016 | 2.9985
|  | 2022-08-11 17:43 | 139 | [18 empty] | 3 | 0.5 | 0.000912 | 2e-06 | 0.49896 | 2.9993
|  | 2022-08-11 17:43 | 140 | [18 empty] | 3 | 0.75 | 0.001114 | 2e-06 | 0.74944 | 2.9985
|  | 2022-08-11 17:43 | 141 | [18 empty] | 3 | 1 | 0.001187 | 2e-06 | 0.99992 | 2.9985
|  | 2022-08-11 17:43 | 142 | [18 empty] | 3 | 1.25 | 0.001211 | 2e-06 | 1.2496 | 2.9985
|  | 2022-08-11 17:43 | 143 | [18 empty] | 3 | 1.5 | 0.001223 | 2e-06 | 1.5 | 2.9985
|  | 2022-08-11 17:43 | 144 | [18 empty] | 3 | 1.75 | 0.00123 | 2e-06 | 1.7489 | 2.9985
|  | 2022-08-11 17:43 | 145 | [18 empty] | 3 | 2 | 0.001237 | 2e-06 | 1.9993 | 2.9985
|  | 2022-08-11 17:43 | 146 | [18 empty] | 3 | 2.25 | 0.001241 | 2e-06 | 2.249 | 2.9985
|  | 2022-08-11 17:43 | 147 | [18 empty] | 3 | 2.5 | 0.001245 | 2e-06 | 2.4995 | 2.9985
|  | 2022-08-11 17:43 | 148 | [18 empty] | 3 | 2.75 | 0.001248 | 2e-06 | 2.7499 | 2.9985
|  | 2022-08-11 17:43 | 149 | [18 empty] | 3 | 3 | 0.001253 | 2e-06 | 2.9987 | 2.9985
|  | 2022-08-11 17:43 | 150 | [18 empty] | 3 | 3.25 | 0.001257 | 2e-06 | 3.2501 | 2.9985
|  | 2022-08-11 17:43 | 151 | [18 empty] | 3 | 3.5 | 0.001264 | 1e-06 | 3.4989 | 2.9985
|  | 2022-08-11 17:43 | 152 | [18 empty] | 3 | 3.75 | 0.00127 | 2e-06 | 3.7493 | 2.9985
|  | 2022-08-11 17:43 | 153 | [18 empty] | 3 | 4 | 0.001277 | 2e-06 | 3.9981 | 2.9985
|  | 2022-08-11 17:43 | 154 | [18 empty] | 3 | 4.25 | 0.001284 | 2e-06 | 4.2495 | 2.9985
|  | 2022-08-11 17:43 | 155 | [18 empty] | 3 | 4.5 | 0.00129 | 2e-06 | 4.4983 | 2.9985
|  | 2022-08-11 17:43 | 156 | [18 empty] | 3 | 4.75 | 0.001297 | 2e-06 | 4.7487 | 2.9985
|  | 2022-08-11 17:43 | 157 | [18 empty] | 3 | 5 | 0.001305 | 2e-06 | 4.9992 | 2.9985
|  | 2022-08-11 17:43 | 158 | [18 empty] | 3 | 5.25 | 0.001312 | 2e-06 | 5.2489 | 2.9985
|  | 2022-08-11 17:43 | 159 | [18 empty] | 3 | 5.5 | 0.001321 | 2e-06 | 5.4993 | 2.9985
|  | 2022-08-11 17:43 | 160 | [18 empty] | 3 | 5.75 | 0.001329 | 1e-06 | 5.7482 | 2.9985
|  | 2022-08-11 17:43 | 161 | [18 empty] | 3 | 6 | 0.001338 | 1e-06 | 5.9986 | 2.9985
|  | 2022-08-11 17:43 | 162 | [18 empty] | 3 | 6.25 | 0.001346 | 2e-06 | 6.2483 | 2.9993
|  | 2022-08-11 17:43 | 163 | [18 empty] | 3 | 6.5 | 0.001356 | 2e-06 | 6.4988 | 2.9985
|  | 2022-08-11 17:43 | 164 | [18 empty] | 3 | 6.75 | 0.001365 | 2e-06 | 6.7492 | 2.9985
|  | 2022-08-11 17:43 | 165 | [18 empty] | 3 | 7 | 0.001375 | 1e-06 | 6.9989 | 2.9985
|  | 2022-08-11 17:43 | 166 | [18 empty] | 3 | 7.25 | 0.001384 | 1e-06 | 7.2494 | 2.9985
|  | 2022-08-11 17:43 | 167 | [18 empty] | 3 | 7.5 | 0.001393 | 2e-06 | 7.4982 | 2.9993
|  | 2022-08-11 17:43 | 168 | [18 empty] | 3 | 7.75 | 0.001403 | 2e-06 | 7.7486 | 2.9985
|  | 2022-08-11 17:43 | 169 | [18 empty] | 3 | 8 | 0.001412 | 2e-06 | 7.9983 | 2.9985
|  | 2022-08-11 17:43 | 170 | [18 empty] | 3 | 8.25 | 0.001421 | 1e-06 | 8.2488 | 2.9985
|  | 2022-08-11 17:43 | 171 | [18 empty] | 3 | 8.5 | 0.00143 | 1e-06 | 8.4992 | 2.9985
|  | 2022-08-11 17:43 | 172 | [18 empty] | 3 | 8.75 | 0.001436 | 2e-06 | 8.7489 | 2.9985
|  | 2022-08-11 17:43 | 173 | [18 empty] | 3 | 9 | 0.001443 | 2e-06 | 8.9994 | 2.9985
|  | 2022-08-11 17:43 | 174 | [18 empty] | 3 | 9.25 | 0.001448 | 1e-06 | 9.2482 | 2.9993
|  | 2022-08-11 17:43 | 175 | [18 empty] | 3 | 9.5 | 0.001451 | 1e-06 | 9.4987 | 2.9985
|  | 2022-08-11 17:43 | 176 | [18 empty] | 3 | 9.75 | 0.001454 | 1e-06 | 9.7483 | 2.9985
|  | 2022-08-11 17:43 | 177 | [18 empty] | 3 | 10 | 0.001456 | 1e-06 | 9.9988 | 2.9985
|  | 2022-08-11 17:43 | 178 | [18 empty] | 3 | 10 |  |  |  |  | 0
|  | 2022-08-11 17:43 | 179 | [25 empty] | 0