## Sheet1
Instrument in Sequence | 1 - E36312A - USB0::0x2A8D::0x1102::MY59002591::0::INSTR | Time | Step | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | 1 - Set CH2 Voltage Range | 1 - Set CH3 Voltage Range | 1 - Set CH2 Current Limit | 1 - Set CH3 Current Limit | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | 1 - Set CH2 Voltage Setting | 1 - Set CH3 Voltage Setting | 1 - Sweep VSG | 1 - Sweep VSD | 1 - Measure ID | 1 - Measure VSD | 1 - Measure VSG | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) ()
Start Time | 44785.5461 | 2022-08-12 13:07 | 1
Stop Time | 44785.5481 | 2022-08-12 13:07 | 2
|  | 2022-08-12 13:07 | 3
|  | 2022-08-12 13:07 | 4 | 0
|  | 2022-08-12 13:07 | 5 |  | 0
|  | 2022-08-12 13:07 | 6 |  |  | 0 | 0.01 | 0 | 5 | 1 | 0 | 10 | 0.25
|  | 2022-08-12 13:07 | 7 | [10 empty] | 25.75 V
|  | 2022-08-12 13:07 | 8 | [11 empty] | 25.75 V
|  | 2022-08-12 13:07 | 9 | [12 empty] | 0.01
|  | 2022-08-12 13:07 | 10 | [13 empty] | 0.001
|  | 2022-08-12 13:07 | 11 | [14 empty] | 1
|  | 2022-08-12 13:07 | 12 | [15 empty] | 1
|  | 2022-08-12 13:07 | 13 | [16 empty] | 0
|  | 2022-08-12 13:07 | 14 | [17 empty] | 0
|  | 2022-08-12 13:07 | 15 | [18 empty] | 0 | 0 | -5e-06 | -0.000322 | 5.9e-05
|  | 2022-08-12 13:07 | 16 | [18 empty] | 0 | 0.25 | 1e-05 | 0.24932 | 5.9e-05
|  | 2022-08-12 13:07 | 17 | [18 empty] | 0 | 0.5 | 1.1e-05 | 0.49813 | 5.9e-05
|  | 2022-08-12 13:07 | 18 | [18 empty] | 0 | 0.75 | 1.2e-05 | 0.74944 | 5.9e-05
|  | 2022-08-12 13:07 | 19 | [18 empty] | 0 | 1 | 1.1e-05 | 0.99992 | 5.9e-05
|  | 2022-08-12 13:07 | 20 | [18 empty] | 0 | 1.25 | 1.2e-05 | 1.2487 | 5.9e-05
|  | 2022-08-12 13:07 | 21 | [18 empty] | 0 | 1.5 | 1.2e-05 | 1.4992 | 5.9e-05
|  | 2022-08-12 13:07 | 22 | [18 empty] | 0 | 1.75 | 1.2e-05 | 1.7489 | 5.9e-05
|  | 2022-08-12 13:07 | 23 | [18 empty] | 0 | 2 | 1.1e-05 | 1.9993 | 5.9e-05
|  | 2022-08-12 13:07 | 24 | [18 empty] | 0 | 2.25 | 1.1e-05 | 2.2481 | 5.9e-05
|  | 2022-08-12 13:08 | 25 | [18 empty] | 0 | 2.5 | 1.1e-05 | 2.4986 | 5.9e-05
|  | 2022-08-12 13:08 | 26 | [18 empty] | 0 | 2.75 | 1.1e-05 | 2.7499 | 5.9e-05
|  | 2022-08-12 13:08 | 27 | [18 empty] | 0 | 3 | 1.1e-05 | 2.9987 | 5.9e-05
|  | 2022-08-12 13:08 | 28 | [18 empty] | 0 | 3.25 | 1.1e-05 | 3.2492 | 5.9e-05
|  | 2022-08-12 13:08 | 29 | [18 empty] | 0 | 3.5 | 1.1e-05 | 3.498 | 5.9e-05
|  | 2022-08-12 13:08 | 30 | [18 empty] | 0 | 3.75 | 1.2e-05 | 3.7493 | 5.9e-05
|  | 2022-08-12 13:08 | 31 | [18 empty] | 0 | 4 | 1.1e-05 | 3.9981 | 5.9e-05
|  | 2022-08-12 13:08 | 32 | [18 empty] | 0 | 4.25 | 1.1e-05 | 4.2486 | 5.9e-05
|  | 2022-08-12 13:08 | 33 | [18 empty] | 0 | 4.5 | 1.1e-05 | 4.4983 | 5.9e-05
|  | 2022-08-12 13:08 | 34 | [18 empty] | 0 | 4.75 | 1.1e-05 | 4.7487 | 5.9e-05
|  | 2022-08-12 13:08 | 35 | [18 empty] | 0 | 5 | 1.1e-05 | 4.9992 | 5.9e-05
|  | 2022-08-12 13:08 | 36 | [18 empty] | 0 | 5.25 | 1.1e-05 | 5.248 | 5.9e-05
|  | 2022-08-12 13:08 | 37 | [18 empty] | 0 | 5.5 | 1e-05 | 5.4985 | 5.9e-05
|  | 2022-08-12 13:08 | 38 | [18 empty] | 0 | 5.75 | 1e-05 | 5.7482 | 5.9e-05
|  | 2022-08-12 13:08 | 39 | [18 empty] | 0 | 6 | 1e-05 | 5.9986 | 5.9e-05
|  | 2022-08-12 13:08 | 40 | [18 empty] | 0 | 6.25 | 1e-05 | 6.2483 | 5.9e-05
|  | 2022-08-12 13:08 | 41 | [18 empty] | 0 | 6.5 | 1e-05 | 6.4988 | 5.9e-05
|  | 2022-08-12 13:08 | 42 | [18 empty] | 0 | 6.75 | 9e-06 | 6.7492 | 5.9e-05
|  | 2022-08-12 13:08 | 43 | [18 empty] | 0 | 7 | 1e-05 | 6.998 | 5.9e-05
|  | 2022-08-12 13:08 | 44 | [18 empty] | 0 | 7.25 | 1e-05 | 7.2494 | 5.9e-05
|  | 2022-08-12 13:08 | 45 | [18 empty] | 0 | 7.5 | 9e-06 | 7.4982 | 5.9e-05
|  | 2022-08-12 13:08 | 46 | [18 empty] | 0 | 7.75 | 1.1e-05 | 7.7486 | 5.9e-05
|  | 2022-08-12 13:08 | 47 | [18 empty] | 0 | 8 | 1e-05 | 7.9983 | 5.9e-05
|  | 2022-08-12 13:08 | 48 | [18 empty] | 0 | 8.25 | 9e-06 | 8.2488 | 5.9e-05
|  | 2022-08-12 13:08 | 49 | [18 empty] | 0 | 8.5 | 1e-05 | 8.4992 | 5.9e-05
|  | 2022-08-12 13:08 | 50 | [18 empty] | 0 | 8.75 | 9e-06 | 8.7481 | 5.9e-05
|  | 2022-08-12 13:08 | 51 | [18 empty] | 0 | 9 | 9e-06 | 8.9994 | 5.9e-05
|  | 2022-08-12 13:08 | 52 | [18 empty] | 0 | 9.25 | 9e-06 | 9.2482 | 5.9e-05
|  | 2022-08-12 13:08 | 53 | [18 empty] | 0 | 9.5 | 8e-06 | 9.4987 | 5.9e-05
|  | 2022-08-12 13:08 | 54 | [18 empty] | 0 | 9.75 | 9e-06 | 9.7483 | 5.9e-05
|  | 2022-08-12 13:08 | 55 | [18 empty] | 0 | 10 | 8e-06 | 9.9988 | 5.9e-05
|  | 2022-08-12 13:08 | 56 | [18 empty] | 1 | 0 | -6.7e-05 | 0.001348 | 0.9987
|  | 2022-08-12 13:08 | 57 | [18 empty] | 1 | 0.25 | -3e-06 | 0.25016 | 0.99953
|  | 2022-08-12 13:08 | 58 | [18 empty] | 1 | 0.5 | 4e-06 | 0.49896 | 0.99953
|  | 2022-08-12 13:08 | 59 | [18 empty] | 1 | 0.75 | 5e-06 | 0.74944 | 0.99953
|  | 2022-08-12 13:08 | 60 | [18 empty] | 1 | 1 | 7e-06 | 0.99992 | 0.99953
|  | 2022-08-12 13:08 | 61 | [18 empty] | 1 | 1.25 | 8e-06 | 1.2496 | 0.99953
|  | 2022-08-12 13:08 | 62 | [18 empty] | 1 | 1.5 | 8e-06 | 1.5 | 0.99953
|  | 2022-08-12 13:08 | 63 | [18 empty] | 1 | 1.75 | 9e-06 | 1.7489 | 0.99953
|  | 2022-08-12 13:08 | 64 | [18 empty] | 1 | 2 | 9e-06 | 1.9993 | 0.99953
|  | 2022-08-12 13:08 | 65 | [18 empty] | 1 | 2.25 | 9e-06 | 2.249 | 0.99953
|  | 2022-08-12 13:08 | 66 | [18 empty] | 1 | 2.5 | 1e-05 | 2.4995 | 0.99953
|  | 2022-08-12 13:08 | 67 | [18 empty] | 1 | 2.75 | 1e-05 | 2.7499 | 0.99953
|  | 2022-08-12 13:08 | 68 | [18 empty] | 1 | 3 | 1e-05 | 2.9987 | 0.99953
|  | 2022-08-12 13:08 | 69 | [18 empty] | 1 | 3.25 | 1e-05 | 3.2492 | 0.99953
|  | 2022-08-12 13:08 | 70 | [18 empty] | 1 | 3.5 | 1e-05 | 3.4989 | 0.99953
|  | 2022-08-12 13:08 | 71 | [18 empty] | 1 | 3.75 | 9e-06 | 3.7493 | 0.99953
|  | 2022-08-12 13:08 | 72 | [18 empty] | 1 | 4 | 9e-06 | 3.9981 | 0.99953
|  | 2022-08-12 13:08 | 73 | [18 empty] | 1 | 4.25 | 1e-05 | 4.2486 | 0.99953
|  | 2022-08-12 13:08 | 74 | [18 empty] | 1 | 4.5 | 1e-05 | 4.4983 | 0.99953
|  | 2022-08-12 13:08 | 75 | [18 empty] | 1 | 4.75 | 9e-06 | 4.7487 | 0.99953
|  | 2022-08-12 13:08 | 76 | [18 empty] | 1 | 5 | 9e-06 | 4.9992 | 0.99953
|  | 2022-08-12 13:08 | 77 | [18 empty] | 1 | 5.25 | 9e-06 | 5.248 | 0.99953
|  | 2022-08-12 13:08 | 78 | [18 empty] | 1 | 5.5 | 9e-06 | 5.4993 | 0.99953
|  | 2022-08-12 13:08 | 79 | [18 empty] | 1 | 5.75 | 9e-06 | 5.7482 | 0.99953
|  | 2022-08-12 13:08 | 80 | [18 empty] | 1 | 6 | 8e-06 | 5.9986 | 0.99953
|  | 2022-08-12 13:08 | 81 | [18 empty] | 1 | 6.25 | 9e-06 | 6.2474 | 0.99953
|  | 2022-08-12 13:08 | 82 | [18 empty] | 1 | 6.5 | 9e-06 | 6.4988 | 0.99953
|  | 2022-08-12 13:08 | 83 | [18 empty] | 1 | 6.75 | 8e-06 | 6.7492 | 0.99953
|  | 2022-08-12 13:08 | 84 | [18 empty] | 1 | 7 | 8e-06 | 6.9989 | 0.99953
|  | 2022-08-12 13:08 | 85 | [18 empty] | 1 | 7.25 | 9e-06 | 7.2494 | 0.99953
|  | 2022-08-12 13:08 | 86 | [18 empty] | 1 | 7.5 | 8e-06 | 7.4982 | 0.99953
|  | 2022-08-12 13:08 | 87 | [18 empty] | 1 | 7.75 | 7e-06 | 7.7486 | 0.9987
|  | 2022-08-12 13:08 | 88 | [18 empty] | 1 | 8 | 7e-06 | 7.9983 | 0.99953
|  | 2022-08-12 13:08 | 89 | [18 empty] | 1 | 8.25 | 7e-06 | 8.2488 | 0.99953
|  | 2022-08-12 13:08 | 90 | [18 empty] | 1 | 8.5 | 7e-06 | 8.4992 | 0.99953
|  | 2022-08-12 13:08 | 91 | [18 empty] | 1 | 8.75 | 7e-06 | 8.7481 | 0.99953
|  | 2022-08-12 13:08 | 92 | [18 empty] | 1 | 9 | 8e-06 | 8.9994 | 0.99953
|  | 2022-08-12 13:08 | 93 | [18 empty] | 1 | 9.25 | 8e-06 | 9.2482 | 0.99953
|  | 2022-08-12 13:08 | 94 | [18 empty] | 1 | 9.5 | 7e-06 | 9.4987 | 0.99953
|  | 2022-08-12 13:08 | 95 | [18 empty] | 1 | 9.75 | 7e-06 | 9.7483 | 0.99953
|  | 2022-08-12 13:08 | 96 | [18 empty] | 1 | 10 | 7e-06 | 9.9988 | 0.99953
|  | 2022-08-12 13:08 | 97 | [18 empty] | 2 | 0 | -7.8e-05 | 0.001348 | 1.9998
|  | 2022-08-12 13:08 | 98 | [18 empty] | 2 | 0.25 | 9.7e-05 | 0.25016 | 1.9998
|  | 2022-08-12 13:08 | 99 | [18 empty] | 2 | 0.5 | 0.000149 | 0.49896 | 1.9998
|  | 2022-08-12 13:08 | 100 | [18 empty] | 2 | 0.75 | 0.000166 | 0.74944 | 1.9998
|  | 2022-08-12 13:08 | 101 | [18 empty] | 2 | 1 | 0.000174 | 0.99992 | 1.9998
|  | 2022-08-12 13:08 | 102 | [18 empty] | 2 | 1.25 | 0.000181 | 1.2496 | 1.9998
|  | 2022-08-12 13:08 | 103 | [18 empty] | 2 | 1.5 | 0.000187 | 1.5 | 1.9998
|  | 2022-08-12 13:08 | 104 | [18 empty] | 2 | 1.75 | 0.000192 | 1.7489 | 1.9998
|  | 2022-08-12 13:08 | 105 | [18 empty] | 2 | 2 | 0.000196 | 1.9993 | 1.9998
|  | 2022-08-12 13:08 | 106 | [18 empty] | 2 | 2.25 | 0.0002 | 2.249 | 1.9998
|  | 2022-08-12 13:08 | 107 | [18 empty] | 2 | 2.5 | 0.000203 | 2.4995 | 1.9998
|  | 2022-08-12 13:08 | 108 | [18 empty] | 2 | 2.75 | 0.000207 | 2.7499 | 1.9998
|  | 2022-08-12 13:08 | 109 | [18 empty] | 2 | 3 | 0.000211 | 2.9987 | 1.9998
|  | 2022-08-12 13:08 | 110 | [18 empty] | 2 | 3.25 | 0.000214 | 3.2492 | 1.9998
|  | 2022-08-12 13:08 | 111 | [18 empty] | 2 | 3.5 | 0.000235 | 3.4989 | 1.9998
|  | 2022-08-12 13:08 | 112 | [18 empty] | 2 | 3.75 | 0.000266 | 3.7493 | 1.9998
|  | 2022-08-12 13:08 | 113 | [18 empty] | 2 | 4 | 0.000298 | 3.9981 | 1.9998
|  | 2022-08-12 13:08 | 114 | [18 empty] | 2 | 4.25 | 0.000343 | 4.2486 | 1.9998
|  | 2022-08-12 13:08 | 115 | [18 empty] | 2 | 4.5 | 0.000327 | 4.4983 | 1.9998
|  | 2022-08-12 13:08 | 116 | [18 empty] | 2 | 4.75 | 0.000969 | 4.7487 | 1.9998
|  | 2022-08-12 13:08 | 117 | [18 empty] | 2 | 5 | 0.00101 | 4.9992 | 1.9998
|  | 2022-08-12 13:08 | 118 | [18 empty] | 2 | 5.25 | 0.001042 | 5.2489 | 1.9998
|  | 2022-08-12 13:08 | 119 | [18 empty] | 2 | 5.5 | 0.001069 | 5.4993 | 1.9998
|  | 2022-08-12 13:08 | 120 | [18 empty] | 2 | 5.75 | 0.001093 | 5.7482 | 1.9998
|  | 2022-08-12 13:08 | 121 | [18 empty] | 2 | 6 | 0.001115 | 5.9995 | 1.9998
|  | 2022-08-12 13:08 | 122 | [18 empty] | 2 | 6.25 | 0.001134 | 6.2483 | 1.9998
|  | 2022-08-12 13:08 | 123 | [18 empty] | 2 | 6.5 | 0.001153 | 6.4988 | 1.9998
|  | 2022-08-12 13:08 | 124 | [18 empty] | 2 | 6.75 | 0.001171 | 6.7492 | 1.9998
|  | 2022-08-12 13:08 | 125 | [18 empty] | 2 | 7 | 0.001188 | 6.9989 | 1.9998
|  | 2022-08-12 13:09 | 126 | [18 empty] | 2 | 7.25 | 0.001204 | 7.2494 | 1.9998
|  | 2022-08-12 13:09 | 127 | [18 empty] | 2 | 7.5 | 0.00122 | 7.4982 | 1.9998
|  | 2022-08-12 13:09 | 128 | [18 empty] | 2 | 7.75 | 0.001235 | 7.7486 | 1.9998
|  | 2022-08-12 13:09 | 129 | [18 empty] | 2 | 8 | 0.00125 | 7.9983 | 1.9998
|  | 2022-08-12 13:09 | 130 | [18 empty] | 2 | 8.25 | 0.001265 | 8.2488 | 1.9998
|  | 2022-08-12 13:09 | 131 | [18 empty] | 2 | 8.5 | 0.001279 | 8.4992 | 1.9998
|  | 2022-08-12 13:09 | 132 | [18 empty] | 2 | 8.75 | 0.001293 | 8.7489 | 1.9998
|  | 2022-08-12 13:09 | 133 | [18 empty] | 2 | 9 | 0.001307 | 8.9994 | 1.9998
|  | 2022-08-12 13:09 | 134 | [18 empty] | 2 | 9.25 | 0.00132 | 9.2482 | 1.9998
|  | 2022-08-12 13:09 | 135 | [18 empty] | 2 | 9.5 | 0.001334 | 9.4995 | 1.9998
|  | 2022-08-12 13:09 | 136 | [18 empty] | 2 | 9.75 | 0.001348 | 9.7483 | 1.9998
|  | 2022-08-12 13:09 | 137 | [18 empty] | 2 | 10 | 0.00136 | 9.9988 | 1.9998
|  | 2022-08-12 13:09 | 138 | [18 empty] | 3 | 0 | -7.3e-05 | 0.001348 | 2.9985
|  | 2022-08-12 13:09 | 139 | [18 empty] | 3 | 0.25 | 0.000265 | 0.25016 | 2.9993
|  | 2022-08-12 13:09 | 140 | [18 empty] | 3 | 0.5 | 0.000492 | 0.49896 | 2.9993
|  | 2022-08-12 13:09 | 141 | [18 empty] | 3 | 0.75 | 0.000668 | 0.74944 | 2.9993
|  | 2022-08-12 13:09 | 142 | [18 empty] | 3 | 1 | 0.000795 | 0.99992 | 2.9985
|  | 2022-08-12 13:09 | 143 | [18 empty] | 3 | 1.25 | 0.000879 | 1.2496 | 2.9993
|  | 2022-08-12 13:09 | 144 | [18 empty] | 3 | 1.5 | 0.000889 | 1.5 | 2.9993
|  | 2022-08-12 13:09 | 145 | [18 empty] | 3 | 1.75 | 0.000876 | 1.7489 | 2.9993
|  | 2022-08-12 13:09 | 146 | [18 empty] | 3 | 2 | 0.000879 | 1.9993 | 2.9993
|  | 2022-08-12 13:09 | 147 | [18 empty] | 3 | 2.25 | 0.000898 | 2.249 | 2.9993
|  | 2022-08-12 13:09 | 148 | [18 empty] | 3 | 2.5 | 0.000932 | 2.4995 | 2.9993
|  | 2022-08-12 13:09 | 149 | [18 empty] | 3 | 2.75 | 0.000983 | 2.7499 | 2.9993
|  | 2022-08-12 13:09 | 150 | [18 empty] | 3 | 3 | 0.001043 | 2.9987 | 2.9993
|  | 2022-08-12 13:09 | 151 | [18 empty] | 3 | 3.25 | 0.001108 | 3.2492 | 2.9993
|  | 2022-08-12 13:09 | 152 | [18 empty] | 3 | 3.5 | 0.001179 | 3.4989 | 2.9993
|  | 2022-08-12 13:09 | 153 | [18 empty] | 3 | 3.75 | 0.001255 | 3.7493 | 2.9993
|  | 2022-08-12 13:09 | 154 | [18 empty] | 3 | 4 | 0.00133 | 3.9981 | 2.9993
|  | 2022-08-12 13:09 | 155 | [18 empty] | 3 | 4.25 | 0.001411 | 4.2495 | 2.9993
|  | 2022-08-12 13:09 | 156 | [18 empty] | 3 | 4.5 | 0.00149 | 4.4983 | 2.9993
|  | 2022-08-12 13:09 | 157 | [18 empty] | 3 | 4.75 | 0.001573 | 4.7487 | 2.9993
|  | 2022-08-12 13:09 | 158 | [18 empty] | 3 | 5 | 0.00171 | 4.9992 | 2.9993
|  | 2022-08-12 13:09 | 159 | [18 empty] | 3 | 5.25 | 0.001899 | 5.2489 | 2.9993
|  | 2022-08-12 13:09 | 160 | [18 empty] | 3 | 5.5 | 0.002075 | 5.4993 | 2.9993
|  | 2022-08-12 13:09 | 161 | [18 empty] | 3 | 5.75 | 0.00223 | 5.7482 | 2.9993
|  | 2022-08-12 13:09 | 162 | [18 empty] | 3 | 6 | 0.00237 | 5.9986 | 2.9993
|  | 2022-08-12 13:09 | 163 | [18 empty] | 3 | 6.25 | 0.002495 | 6.2483 | 2.9993
|  | 2022-08-12 13:09 | 164 | [18 empty] | 3 | 6.5 | 0.002607 | 6.4988 | 2.9993
|  | 2022-08-12 13:09 | 165 | [18 empty] | 3 | 6.75 | 0.002708 | 6.7492 | 2.9993
|  | 2022-08-12 13:09 | 166 | [18 empty] | 3 | 7 | 0.002798 | 6.9989 | 2.9993
|  | 2022-08-12 13:09 | 167 | [18 empty] | 3 | 7.25 | 0.002878 | 7.2494 | 2.9993
|  | 2022-08-12 13:09 | 168 | [18 empty] | 3 | 7.5 | 0.002948 | 7.4982 | 2.9993
|  | 2022-08-12 13:09 | 169 | [18 empty] | 3 | 7.75 | 0.003009 | 7.7486 | 2.9993
|  | 2022-08-12 13:09 | 170 | [18 empty] | 3 | 8 | 0.003064 | 7.9983 | 2.9993
|  | 2022-08-12 13:09 | 171 | [18 empty] | 3 | 8.25 | 0.003112 | 8.2488 | 2.9993
|  | 2022-08-12 13:09 | 172 | [18 empty] | 3 | 8.5 | 0.003157 | 8.4992 | 2.9993
|  | 2022-08-12 13:09 | 173 | [18 empty] | 3 | 8.75 | 0.003198 | 8.7489 | 2.9993
|  | 2022-08-12 13:09 | 174 | [18 empty] | 3 | 9 | 0.003235 | 8.9994 | 2.9993
|  | 2022-08-12 13:09 | 175 | [18 empty] | 3 | 9.25 | 0.003272 | 9.2482 | 2.9993
|  | 2022-08-12 13:09 | 176 | [18 empty] | 3 | 9.5 | 0.003307 | 9.4987 | 2.9993
|  | 2022-08-12 13:09 | 177 | [18 empty] | 3 | 9.75 | 0.003341 | 9.7483 | 2.9993
|  | 2022-08-12 13:09 | 178 | [18 empty] | 3 | 10 | 0.003373 | 9.9988 | 2.9993
|  | 2022-08-12 13:09 | 179 | [18 empty] | 4 | 0 | -7.1e-05 | 0.001348 | 3.998
|  | 2022-08-12 13:09 | 180 | [18 empty] | 4 | 0.25 | 0.000392 | 0.25016 | 3.998
|  | 2022-08-12 13:09 | 181 | [18 empty] | 4 | 0.5 | 0.000757 | 0.49896 | 3.998
|  | 2022-08-12 13:09 | 182 | [18 empty] | 4 | 0.75 | 0.001079 | 0.75028 | 3.998
|  | 2022-08-12 13:09 | 183 | [18 empty] | 4 | 1 | 0.001359 | 1.0008 | 3.998
|  | 2022-08-12 13:09 | 184 | [18 empty] | 4 | 1.25 | 0.001596 | 1.2496 | 3.998
|  | 2022-08-12 13:09 | 185 | [18 empty] | 4 | 1.5 | 0.001793 | 1.5 | 3.998
|  | 2022-08-12 13:09 | 186 | [18 empty] | 4 | 1.75 | 0.00195 | 1.7489 | 3.998
|  | 2022-08-12 13:09 | 187 | [18 empty] | 4 | 2 | 0.002071 | 1.9993 | 3.998
|  | 2022-08-12 13:09 | 188 | [18 empty] | 4 | 2.25 | 0.001969 | 2.249 | 3.998
|  | 2022-08-12 13:09 | 189 | [18 empty] | 4 | 2.5 | 0.001888 | 2.4995 | 3.998
|  | 2022-08-12 13:09 | 190 | [18 empty] | 4 | 2.75 | 0.001833 | 2.7499 | 3.998
|  | 2022-08-12 13:09 | 191 | [18 empty] | 4 | 3 | 0.001796 | 2.9987 | 3.998
|  | 2022-08-12 13:09 | 192 | [18 empty] | 4 | 3.25 | 0.001779 | 3.2501 | 3.998
|  | 2022-08-12 13:09 | 193 | [18 empty] | 4 | 3.5 | 0.001781 | 3.4989 | 3.998
|  | 2022-08-12 13:09 | 194 | [18 empty] | 4 | 3.75 | 0.001804 | 3.7493 | 3.998
|  | 2022-08-12 13:09 | 195 | [18 empty] | 4 | 4 | 0.001849 | 3.9981 | 3.998
|  | 2022-08-12 13:09 | 196 | [18 empty] | 4 | 4.25 | 0.001904 | 4.2486 | 3.998
|  | 2022-08-12 13:09 | 197 | [18 empty] | 4 | 4.5 | 0.001969 | 4.4983 | 3.998
|  | 2022-08-12 13:09 | 198 | [18 empty] | 4 | 4.75 | 0.002042 | 4.7487 | 3.998
|  | 2022-08-12 13:09 | 199 | [18 empty] | 4 | 5 | 0.002118 | 4.9992 | 3.998
|  | 2022-08-12 13:09 | 200 | [18 empty] | 4 | 5.25 | 0.002196 | 5.2489 | 3.998
|  | 2022-08-12 13:09 | 201 | [18 empty] | 4 | 5.5 | 0.002279 | 5.4993 | 3.998
|  | 2022-08-12 13:09 | 202 | [18 empty] | 4 | 5.75 | 0.002371 | 5.7482 | 3.998
|  | 2022-08-12 13:09 | 203 | [18 empty] | 4 | 6 | 0.002483 | 5.9995 | 3.998
|  | 2022-08-12 13:09 | 204 | [18 empty] | 4 | 6.25 | 0.002723 | 6.2483 | 3.998
|  | 2022-08-12 13:09 | 205 | [18 empty] | 4 | 6.5 | 0.003024 | 6.4988 | 3.998
|  | 2022-08-12 13:09 | 206 | [18 empty] | 4 | 6.75 | 0.003305 | 6.7492 | 3.998
|  | 2022-08-12 13:09 | 207 | [18 empty] | 4 | 7 | 0.003559 | 6.9989 | 3.998
|  | 2022-08-12 13:09 | 208 | [18 empty] | 4 | 7.25 | 0.003794 | 7.2494 | 3.998
|  | 2022-08-12 13:09 | 209 | [18 empty] | 4 | 7.5 | 0.00401 | 7.4982 | 3.998
|  | 2022-08-12 13:09 | 210 | [18 empty] | 4 | 7.75 | 0.004212 | 7.7495 | 3.998
|  | 2022-08-12 13:09 | 211 | [18 empty] | 4 | 8 | 0.004399 | 7.9983 | 3.998
|  | 2022-08-12 13:09 | 212 | [18 empty] | 4 | 8.25 | 0.004576 | 8.2488 | 3.998
|  | 2022-08-12 13:09 | 213 | [18 empty] | 4 | 8.5 | 0.00474 | 8.4992 | 3.998
|  | 2022-08-12 13:09 | 214 | [18 empty] | 4 | 8.75 | 0.004893 | 8.7489 | 3.998
|  | 2022-08-12 13:09 | 215 | [18 empty] | 4 | 9 | 0.005037 | 8.9994 | 3.998
|  | 2022-08-12 13:09 | 216 | [18 empty] | 4 | 9.25 | 0.005169 | 9.2482 | 3.998
|  | 2022-08-12 13:09 | 217 | [18 empty] | 4 | 9.5 | 0.005293 | 9.4987 | 3.998
|  | 2022-08-12 13:09 | 218 | [18 empty] | 4 | 9.75 | 0.005406 | 9.7483 | 3.998
|  | 2022-08-12 13:09 | 219 | [18 empty] | 4 | 10 | 0.00551 | 9.9988 | 3.998
|  | 2022-08-12 13:09 | 220 | [18 empty] | 5 | 0 | -8.1e-05 | 0.001348 | 4.9991
|  | 2022-08-12 13:09 | 221 | [18 empty] | 5 | 0.25 | 0.000497 | 0.25016 | 4.9991
|  | 2022-08-12 13:09 | 222 | [18 empty] | 5 | 0.5 | 0.000973 | 0.49896 | 4.9991
|  | 2022-08-12 13:09 | 223 | [18 empty] | 5 | 0.75 | 0.001413 | 0.74944 | 4.9991
|  | 2022-08-12 13:09 | 224 | [18 empty] | 5 | 1 | 0.001816 | 1.0008 | 4.9991
|  | 2022-08-12 13:09 | 225 | [18 empty] | 5 | 1.25 | 0.002181 | 1.2496 | 4.9991
|  | 2022-08-12 13:09 | 226 | [18 empty] | 5 | 1.5 | 0.002512 | 1.5 | 4.9991
|  | 2022-08-12 13:10 | 227 | [18 empty] | 5 | 1.75 | 0.002804 | 1.7489 | 4.9991
|  | 2022-08-12 13:10 | 228 | [18 empty] | 5 | 2 | 0.003064 | 1.9993 | 4.9991
|  | 2022-08-12 13:10 | 229 | [18 empty] | 5 | 2.25 | 0.003284 | 2.249 | 4.9991
|  | 2022-08-12 13:10 | 230 | [18 empty] | 5 | 2.5 | 0.003472 | 2.4995 | 4.9991
|  | 2022-08-12 13:10 | 231 | [18 empty] | 5 | 2.75 | 0.003627 | 2.7499 | 4.9991
|  | 2022-08-12 13:10 | 232 | [18 empty] | 5 | 3 | 0.003397 | 2.9987 | 4.9991
|  | 2022-08-12 13:10 | 233 | [18 empty] | 5 | 3.25 | 0.003239 | 3.2501 | 4.9991
|  | 2022-08-12 13:10 | 234 | [18 empty] | 5 | 3.5 | 0.003115 | 3.4989 | 4.9991
|  | 2022-08-12 13:10 | 235 | [18 empty] | 5 | 3.75 | 0.003011 | 3.7493 | 4.9991
|  | 2022-08-12 13:10 | 236 | [18 empty] | 5 | 4 | 0.002927 | 3.9981 | 4.9991
|  | 2022-08-12 13:10 | 237 | [18 empty] | 5 | 4.25 | 0.002862 | 4.2495 | 4.9991
|  | 2022-08-12 13:10 | 238 | [18 empty] | 5 | 4.5 | 0.002818 | 4.4983 | 4.9991
|  | 2022-08-12 13:10 | 239 | [18 empty] | 5 | 4.75 | 0.002797 | 4.7487 | 4.9991
|  | 2022-08-12 13:10 | 240 | [18 empty] | 5 | 5 | 0.002788 | 4.9992 | 4.9991
|  | 2022-08-12 13:10 | 241 | [18 empty] | 5 | 5.25 | 0.002807 | 5.2489 | 4.9991
|  | 2022-08-12 13:10 | 242 | [18 empty] | 5 | 5.5 | 0.002853 | 5.4993 | 4.9991
|  | 2022-08-12 13:10 | 243 | [18 empty] | 5 | 5.75 | 0.00293 | 5.7482 | 4.9991
|  | 2022-08-12 13:10 | 244 | [18 empty] | 5 | 6 | 0.003038 | 5.9986 | 4.9991
|  | 2022-08-12 13:10 | 245 | [18 empty] | 5 | 6.25 | 0.003158 | 6.2483 | 4.9991
|  | 2022-08-12 13:10 | 246 | [18 empty] | 5 | 6.5 | 0.003268 | 6.4988 | 4.9991
|  | 2022-08-12 13:10 | 247 | [18 empty] | 5 | 6.75 | 0.003366 | 6.7492 | 4.9991
|  | 2022-08-12 13:10 | 248 | [18 empty] | 5 | 7 | 0.003454 | 6.9989 | 4.9991
|  | 2022-08-12 13:10 | 249 | [18 empty] | 5 | 7.25 | 0.003542 | 7.2494 | 4.9991
|  | 2022-08-12 13:10 | 250 | [18 empty] | 5 | 7.5 | 0.003696 | 7.4982 | 4.9991
|  | 2022-08-12 13:10 | 251 | [18 empty] | 5 | 7.75 | 0.004059 | 7.7486 | 4.9991
|  | 2022-08-12 13:10 | 252 | [18 empty] | 5 | 8 | 0.00443 | 7.9983 | 4.9991
|  | 2022-08-12 13:10 | 253 | [18 empty] | 5 | 8.25 | 0.00478 | 8.2488 | 4.9991
|  | 2022-08-12 13:10 | 254 | [18 empty] | 5 | 8.5 | 0.005106 | 8.4992 | 4.9991
|  | 2022-08-12 13:10 | 255 | [18 empty] | 5 | 8.75 | 0.005406 | 8.7489 | 4.9991
|  | 2022-08-12 13:10 | 256 | [18 empty] | 5 | 9 | 0.005692 | 8.9994 | 4.9991
|  | 2022-08-12 13:10 | 257 | [18 empty] | 5 | 9.25 | 0.005964 | 9.2482 | 4.9991
|  | 2022-08-12 13:10 | 258 | [18 empty] | 5 | 9.5 | 0.006221 | 9.4995 | 4.9991
|  | 2022-08-12 13:10 | 259 | [18 empty] | 5 | 9.75 | 0.006464 | 9.7483 | 4.9991
|  | 2022-08-12 13:10 | 260 | [18 empty] | 5 | 10 | 0.006698 | 9.9988 | 4.9991
|  | 2022-08-12 13:10 | 261 | [18 empty] | 5 | 10 |  |  |  | 0
|  | 2022-08-12 13:10 | 262 | [24 empty] | 0