## Sheet1
Instrument in Sequence | 1 - E36312A - USB0::0x2A8D::0x1102::MY59002591::0::INSTR | Time | Step | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | Run a Script | 1 - Set CH2 Voltage Range | 1 - Set CH3 Voltage Range | 1 - Set CH2 Current Limit | 1 - Set CH3 Current Limit | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) | 1 - Set CH2 Voltage Setting | 1 - Set CH3 Voltage Setting | 1 - Sweep VSG | 1 - Sweep VSD | 1 - Measure ID | 1 - Measure VSD | 1 - Measure VSG | 1 - Set CH2 On/Off (VSD) | 1 - Set CH3 On/Off (VSG) ()
Start Time | 44785.5666 | 2022-08-12 13:36 | 1
Stop Time | 44785.5677 | 2022-08-12 13:36 | 2
|  | 2022-08-12 13:36 | 3
|  | 2022-08-12 13:36 | 4 | 0
|  | 2022-08-12 13:36 | 5 |  | 0
|  | 2022-08-12 13:37 | 6 |  |  | 0 | 0.01 | 2 | 5 | 1 | 0 | 10 | 0.25
|  | 2022-08-12 13:37 | 7 | [10 empty] | 25.75 V
|  | 2022-08-12 13:37 | 8 | [11 empty] | 25.75 V
|  | 2022-08-12 13:37 | 9 | [12 empty] | 0.01
|  | 2022-08-12 13:37 | 10 | [13 empty] | 0.001
|  | 2022-08-12 13:37 | 11 | [14 empty] | 1
|  | 2022-08-12 13:37 | 12 | [15 empty] | 1
|  | 2022-08-12 13:37 | 13 | [16 empty] | 0
|  | 2022-08-12 13:37 | 14 | [17 empty] | 0
|  | 2022-08-12 13:37 | 15 | [18 empty] | 2 | 0 | -1.2e-05 | 0.000513 | 0.729
|  | 2022-08-12 13:37 | 16 | [18 empty] | 2 | 0.25 | 5e-06 | 0.24932 | 0.97782
|  | 2022-08-12 13:37 | 17 | [18 empty] | 2 | 0.5 | 5e-06 | 0.49813 | 1.23
|  | 2022-08-12 13:37 | 18 | [18 empty] | 2 | 0.75 | 9e-06 | 0.74861 | 1.4796
|  | 2022-08-12 13:37 | 19 | [18 empty] | 2 | 1 | 5.2e-05 | 0.99992 | 1.7301
|  | 2022-08-12 13:37 | 20 | [18 empty] | 2 | 1.25 | 0.000143 | 1.2487 | 1.979
|  | 2022-08-12 13:37 | 21 | [18 empty] | 2 | 1.5 | 0.000192 | 1.5 | 1.9998
|  | 2022-08-12 13:37 | 22 | [18 empty] | 2 | 1.75 | 0.000198 | 1.7489 | 1.9998
|  | 2022-08-12 13:37 | 23 | [18 empty] | 2 | 2 | 0.000203 | 1.9993 | 1.9998
|  | 2022-08-12 13:37 | 24 | [18 empty] | 2 | 2.25 | 0.000206 | 2.2481 | 1.9998
|  | 2022-08-12 13:37 | 25 | [18 empty] | 2 | 2.5 | 0.00021 | 2.4986 | 1.9998
|  | 2022-08-12 13:37 | 26 | [18 empty] | 2 | 2.75 | 0.000214 | 2.7499 | 1.9998
|  | 2022-08-12 13:37 | 27 | [18 empty] | 2 | 3 | 0.000218 | 2.9987 | 1.9998
|  | 2022-08-12 13:37 | 28 | [18 empty] | 2 | 3.25 | 0.00022 | 3.2492 | 1.9998
|  | 2022-08-12 13:37 | 29 | [18 empty] | 2 | 3.5 | 0.000224 | 3.498 | 1.9998
|  | 2022-08-12 13:37 | 30 | [18 empty] | 2 | 3.75 | 0.000227 | 3.7493 | 1.9998
|  | 2022-08-12 13:37 | 31 | [18 empty] | 2 | 4 | 0.00023 | 3.9981 | 1.9998
|  | 2022-08-12 13:37 | 32 | [18 empty] | 2 | 4.25 | 0.000234 | 4.2486 | 1.9998
|  | 2022-08-12 13:37 | 33 | [18 empty] | 2 | 4.5 | 0.000238 | 4.4974 | 1.9998
|  | 2022-08-12 13:37 | 34 | [18 empty] | 2 | 4.75 | 0.00024 | 4.7487 | 1.9998
|  | 2022-08-12 13:37 | 35 | [18 empty] | 2 | 5 | 0.000243 | 4.9992 | 1.9998
|  | 2022-08-12 13:37 | 36 | [18 empty] | 2 | 5.25 | 0.000248 | 5.248 | 1.9998
|  | 2022-08-12 13:37 | 37 | [18 empty] | 2 | 5.5 | 0.000251 | 5.4985 | 1.9998
|  | 2022-08-12 13:37 | 38 | [18 empty] | 2 | 5.75 | 0.000253 | 5.7482 | 1.9998
|  | 2022-08-12 13:37 | 39 | [18 empty] | 2 | 6 | 0.000257 | 5.9986 | 1.9998
|  | 2022-08-12 13:37 | 40 | [18 empty] | 2 | 6.25 | 0.00026 | 6.2474 | 1.9998
|  | 2022-08-12 13:37 | 41 | [18 empty] | 2 | 6.5 | 0.000262 | 6.4988 | 1.9998
|  | 2022-08-12 13:37 | 42 | [18 empty] | 2 | 6.75 | 0.000265 | 6.7492 | 1.9998
|  | 2022-08-12 13:37 | 43 | [18 empty] | 2 | 7 | 0.000268 | 6.998 | 1.9998
|  | 2022-08-12 13:37 | 44 | [18 empty] | 2 | 7.25 | 0.000272 | 7.2485 | 1.9998
|  | 2022-08-12 13:37 | 45 | [18 empty] | 2 | 7.5 | 0.000275 | 7.4982 | 1.9998
|  | 2022-08-12 13:37 | 46 | [18 empty] | 2 | 7.75 | 0.000277 | 7.7486 | 1.9998
|  | 2022-08-12 13:37 | 47 | [18 empty] | 2 | 8 | 0.000281 | 7.9983 | 1.9998
|  | 2022-08-12 13:37 | 48 | [18 empty] | 2 | 8.25 | 0.000284 | 8.2488 | 1.9998
|  | 2022-08-12 13:37 | 49 | [18 empty] | 2 | 8.5 | 0.000287 | 8.4992 | 1.9998
|  | 2022-08-12 13:37 | 50 | [18 empty] | 2 | 8.75 | 0.00029 | 8.7489 | 1.9998
|  | 2022-08-12 13:37 | 51 | [18 empty] | 2 | 9 | 0.000293 | 8.9985 | 1.9998
|  | 2022-08-12 13:37 | 52 | [18 empty] | 2 | 9.25 | 0.000296 | 9.2482 | 1.9998
|  | 2022-08-12 13:37 | 53 | [18 empty] | 2 | 9.5 | 0.000299 | 9.4987 | 1.9998
|  | 2022-08-12 13:37 | 54 | [18 empty] | 2 | 9.75 | 0.000301 | 9.7483 | 1.9998
|  | 2022-08-12 13:37 | 55 | [18 empty] | 2 | 10 | 0.000305 | 9.9988 | 1.9998
|  | 2022-08-12 13:37 | 56 | [18 empty] | 3 | 0 | -5.4e-05 | 0.001348 | 0.73234
|  | 2022-08-12 13:37 | 57 | [18 empty] | 3 | 0.25 | -7e-06 | 0.24932 | 0.97949
|  | 2022-08-12 13:37 | 58 | [18 empty] | 3 | 0.5 | -1e-06 | 0.49896 | 1.2292
|  | 2022-08-12 13:37 | 59 | [18 empty] | 3 | 0.75 | 6e-06 | 0.74944 | 1.4796
|  | 2022-08-12 13:37 | 60 | [18 empty] | 3 | 1 | 4.8e-05 | 0.99992 | 1.7293
|  | 2022-08-12 13:37 | 61 | [18 empty] | 3 | 1.25 | 0.000142 | 1.2487 | 1.979
|  | 2022-08-12 13:37 | 62 | [18 empty] | 3 | 1.5 | 0.000282 | 1.5 | 2.2286
|  | 2022-08-12 13:37 | 63 | [18 empty] | 3 | 1.75 | 0.000468 | 1.7489 | 2.4774
|  | 2022-08-12 13:37 | 64 | [18 empty] | 3 | 2 | 0.000695 | 1.9993 | 2.7296
|  | 2022-08-12 13:37 | 65 | [18 empty] | 3 | 2.25 | 0.000961 | 2.2481 | 2.9768
|  | 2022-08-12 13:37 | 66 | [18 empty] | 3 | 2.5 | 0.001077 | 2.4995 | 2.9985
|  | 2022-08-12 13:37 | 67 | [18 empty] | 3 | 2.75 | 0.001096 | 2.7499 | 2.9985
|  | 2022-08-12 13:37 | 68 | [18 empty] | 3 | 3 | 0.001114 | 2.9987 | 2.9993
|  | 2022-08-12 13:37 | 69 | [18 empty] | 3 | 3.25 | 0.001131 | 3.2492 | 2.9993
|  | 2022-08-12 13:37 | 70 | [18 empty] | 3 | 3.5 | 0.001148 | 3.4989 | 2.9985
|  | 2022-08-12 13:37 | 71 | [18 empty] | 3 | 3.75 | 0.001163 | 3.7493 | 2.9993
|  | 2022-08-12 13:37 | 72 | [18 empty] | 3 | 4 | 0.00118 | 3.9981 | 2.9993
|  | 2022-08-12 13:37 | 73 | [18 empty] | 3 | 4.25 | 0.001195 | 4.2486 | 2.9993
|  | 2022-08-12 13:37 | 74 | [18 empty] | 3 | 4.5 | 0.001209 | 4.4983 | 2.9985
|  | 2022-08-12 13:37 | 75 | [18 empty] | 3 | 4.75 | 0.001223 | 4.7487 | 2.9985
|  | 2022-08-12 13:37 | 76 | [18 empty] | 3 | 5 | 0.001237 | 4.9992 | 2.9993
|  | 2022-08-12 13:37 | 77 | [18 empty] | 3 | 5.25 | 0.00125 | 5.248 | 2.9993
|  | 2022-08-12 13:37 | 78 | [18 empty] | 3 | 5.5 | 0.001264 | 5.4993 | 2.9993
|  | 2022-08-12 13:37 | 79 | [18 empty] | 3 | 5.75 | 0.001276 | 5.7482 | 2.9993
|  | 2022-08-12 13:37 | 80 | [18 empty] | 3 | 6 | 0.00129 | 5.9986 | 2.9993
|  | 2022-08-12 13:37 | 81 | [18 empty] | 3 | 6.25 | 0.001302 | 6.2474 | 2.9993
|  | 2022-08-12 13:37 | 82 | [18 empty] | 3 | 6.5 | 0.001315 | 6.4988 | 2.9993
|  | 2022-08-12 13:37 | 83 | [18 empty] | 3 | 6.75 | 0.001328 | 6.7492 | 2.9985
|  | 2022-08-12 13:37 | 84 | [18 empty] | 3 | 7 | 0.001341 | 6.998 | 2.9993
|  | 2022-08-12 13:37 | 85 | [18 empty] | 3 | 7.25 | 0.001352 | 7.2494 | 2.9993
|  | 2022-08-12 13:37 | 86 | [18 empty] | 3 | 7.5 | 0.001365 | 7.4982 | 2.9993
|  | 2022-08-12 13:37 | 87 | [18 empty] | 3 | 7.75 | 0.001377 | 7.7486 | 2.9993
|  | 2022-08-12 13:37 | 88 | [18 empty] | 3 | 8 | 0.001389 | 7.9983 | 2.9993
|  | 2022-08-12 13:37 | 89 | [18 empty] | 3 | 8.25 | 0.0014 | 8.2488 | 2.9993
|  | 2022-08-12 13:37 | 90 | [18 empty] | 3 | 8.5 | 0.001412 | 8.4992 | 2.9993
|  | 2022-08-12 13:37 | 91 | [18 empty] | 3 | 8.75 | 0.001423 | 8.7481 | 2.9993
|  | 2022-08-12 13:37 | 92 | [18 empty] | 3 | 9 | 0.001435 | 8.9994 | 2.9993
|  | 2022-08-12 13:37 | 93 | [18 empty] | 3 | 9.25 | 0.001448 | 9.2482 | 2.9993
|  | 2022-08-12 13:37 | 94 | [18 empty] | 3 | 9.5 | 0.001459 | 9.4987 | 2.9985
|  | 2022-08-12 13:37 | 95 | [18 empty] | 3 | 9.75 | 0.00147 | 9.7483 | 2.9993
|  | 2022-08-12 13:37 | 96 | [18 empty] | 3 | 10 | 0.001481 | 9.9988 | 2.9993
|  | 2022-08-12 13:37 | 97 | [18 empty] | 4 | 0 | -8e-05 | 0.002183 | 0.73317
|  | 2022-08-12 13:37 | 98 | [18 empty] | 4 | 0.25 | -9e-06 | 0.25016 | 0.97949
|  | 2022-08-12 13:37 | 99 | [18 empty] | 4 | 0.5 | -3e-06 | 0.49896 | 1.2292
|  | 2022-08-12 13:37 | 100 | [18 empty] | 4 | 0.75 | 5e-06 | 0.74944 | 1.478
|  | 2022-08-12 13:37 | 101 | [18 empty] | 4 | 1 | 4.7e-05 | 0.99992 | 1.7293
|  | 2022-08-12 13:38 | 102 | [18 empty] | 4 | 1.25 | 0.00014 | 1.2496 | 1.9781
|  | 2022-08-12 13:38 | 103 | [18 empty] | 4 | 1.5 | 0.000281 | 1.5 | 2.2295
|  | 2022-08-12 13:38 | 104 | [18 empty] | 4 | 1.75 | 0.000465 | 1.7489 | 2.4766
|  | 2022-08-12 13:38 | 105 | [18 empty] | 4 | 2 | 0.000694 | 1.9993 | 2.7288
|  | 2022-08-12 13:38 | 106 | [18 empty] | 4 | 2.25 | 0.000959 | 2.249 | 2.9776
|  | 2022-08-12 13:38 | 107 | [18 empty] | 4 | 2.5 | 0.001262 | 2.4995 | 3.2273
|  | 2022-08-12 13:38 | 108 | [18 empty] | 4 | 2.75 | 0.001601 | 2.7499 | 3.4778
|  | 2022-08-12 13:38 | 109 | [18 empty] | 4 | 3 | 0.001968 | 2.9987 | 3.7241
|  | 2022-08-12 13:38 | 110 | [18 empty] | 4 | 3.25 | 0.00237 | 3.2492 | 3.9746
|  | 2022-08-12 13:38 | 111 | [18 empty] | 4 | 3.5 | 0.002542 | 3.4989 | 3.998
|  | 2022-08-12 13:38 | 112 | [18 empty] | 4 | 3.75 | 0.002579 | 3.7493 | 3.998
|  | 2022-08-12 13:38 | 113 | [18 empty] | 4 | 4 | 0.002612 | 3.9981 | 3.998
|  | 2022-08-12 13:38 | 114 | [18 empty] | 4 | 4.25 | 0.002645 | 4.2486 | 3.998
|  | 2022-08-12 13:38 | 115 | [18 empty] | 4 | 4.5 | 0.002677 | 4.4983 | 3.998
|  | 2022-08-12 13:38 | 116 | [18 empty] | 4 | 4.75 | 0.002707 | 4.7487 | 3.998
|  | 2022-08-12 13:38 | 117 | [18 empty] | 4 | 5 | 0.002736 | 4.9992 | 3.998
|  | 2022-08-12 13:38 | 118 | [18 empty] | 4 | 5.25 | 0.002764 | 5.2489 | 3.998
|  | 2022-08-12 13:38 | 119 | [18 empty] | 4 | 5.5 | 0.002792 | 5.4993 | 3.998
|  | 2022-08-12 13:38 | 120 | [18 empty] | 4 | 5.75 | 0.002818 | 5.7482 | 3.998
|  | 2022-08-12 13:38 | 121 | [18 empty] | 4 | 6 | 0.002846 | 5.9986 | 3.998
|  | 2022-08-12 13:38 | 122 | [18 empty] | 4 | 6.25 | 0.002871 | 6.2483 | 3.998
|  | 2022-08-12 13:38 | 123 | [18 empty] | 4 | 6.5 | 0.002896 | 6.4988 | 3.998
|  | 2022-08-12 13:38 | 124 | [18 empty] | 4 | 6.75 | 0.002921 | 6.7492 | 3.998
|  | 2022-08-12 13:38 | 125 | [18 empty] | 4 | 7 | 0.002946 | 6.998 | 3.998
|  | 2022-08-12 13:38 | 126 | [18 empty] | 4 | 7.25 | 0.002969 | 7.2494 | 3.998
|  | 2022-08-12 13:38 | 127 | [18 empty] | 4 | 7.5 | 0.002994 | 7.4982 | 3.998
|  | 2022-08-12 13:38 | 128 | [18 empty] | 4 | 7.75 | 0.003017 | 7.7486 | 3.998
|  | 2022-08-12 13:38 | 129 | [18 empty] | 4 | 8 | 0.003039 | 7.9983 | 3.998
|  | 2022-08-12 13:38 | 130 | [18 empty] | 4 | 8.25 | 0.003061 | 8.2488 | 3.998
|  | 2022-08-12 13:38 | 131 | [18 empty] | 4 | 8.5 | 0.003085 | 8.4992 | 3.998
|  | 2022-08-12 13:38 | 132 | [18 empty] | 4 | 8.75 | 0.003107 | 8.7481 | 3.998
|  | 2022-08-12 13:38 | 133 | [18 empty] | 4 | 9 | 0.003128 | 8.9994 | 3.998
|  | 2022-08-12 13:38 | 134 | [18 empty] | 4 | 9.25 | 0.003151 | 9.2482 | 3.998
|  | 2022-08-12 13:38 | 135 | [18 empty] | 4 | 9.5 | 0.003172 | 9.4987 | 3.998
|  | 2022-08-12 13:38 | 136 | [18 empty] | 4 | 9.75 | 0.003193 | 9.7483 | 3.998
|  | 2022-08-12 13:38 | 137 | [18 empty] | 4 | 10 | 0.003214 | 9.9988 | 3.998
|  | 2022-08-12 13:38 | 138 | [18 empty] | 5 | 0 | -5.3e-05 | 0.001348 | 0.73067
|  | 2022-08-12 13:38 | 139 | [18 empty] | 5 | 0.25 | -9e-06 | 0.25016 | 0.97949
|  | 2022-08-12 13:38 | 140 | [18 empty] | 5 | 0.5 | -2e-06 | 0.49896 | 1.2275
|  | 2022-08-12 13:38 | 141 | [18 empty] | 5 | 0.75 | 4e-06 | 0.74944 | 1.4788
|  | 2022-08-12 13:38 | 142 | [18 empty] | 5 | 1 | 4.6e-05 | 0.99992 | 1.7285
|  | 2022-08-12 13:38 | 143 | [18 empty] | 5 | 1.25 | 0.000139 | 1.2496 | 1.9781
|  | 2022-08-12 13:38 | 144 | [18 empty] | 5 | 1.5 | 0.00028 | 1.5 | 2.227
|  | 2022-08-12 13:38 | 145 | [18 empty] | 5 | 1.75 | 0.000465 | 1.7489 | 2.4783
|  | 2022-08-12 13:38 | 146 | [18 empty] | 5 | 2 | 0.000692 | 1.9993 | 2.7288
|  | 2022-08-12 13:38 | 147 | [18 empty] | 5 | 2.25 | 0.000958 | 2.249 | 2.9759
|  | 2022-08-12 13:38 | 148 | [18 empty] | 5 | 2.5 | 0.001261 | 2.4995 | 3.2248
|  | 2022-08-12 13:38 | 149 | [18 empty] | 5 | 2.75 | 0.001599 | 2.7499 | 3.4761
|  | 2022-08-12 13:38 | 150 | [18 empty] | 5 | 3 | 0.001966 | 2.9987 | 3.7249
|  | 2022-08-12 13:38 | 151 | [18 empty] | 5 | 3.25 | 0.002367 | 3.2501 | 3.9721
|  | 2022-08-12 13:38 | 152 | [18 empty] | 5 | 3.5 | 0.002794 | 3.4989 | 4.2217
|  | 2022-08-12 13:38 | 153 | [18 empty] | 5 | 3.75 | 0.003253 | 3.7493 | 4.4739
|  | 2022-08-12 13:38 | 154 | [18 empty] | 5 | 4 | 0.003734 | 3.9981 | 4.7227
|  | 2022-08-12 13:38 | 155 | [18 empty] | 5 | 4.25 | 0.004243 | 4.2486 | 4.9724
|  | 2022-08-12 13:38 | 156 | [18 empty] | 5 | 4.5 | 0.00447 | 4.4983 | 4.9991
|  | 2022-08-12 13:38 | 157 | [18 empty] | 5 | 4.75 | 0.004523 | 4.7487 | 4.9991
|  | 2022-08-12 13:38 | 158 | [18 empty] | 5 | 5 | 0.004573 | 4.9992 | 4.9991
|  | 2022-08-12 13:38 | 159 | [18 empty] | 5 | 5.25 | 0.004621 | 5.2489 | 4.9991
|  | 2022-08-12 13:38 | 160 | [18 empty] | 5 | 5.5 | 0.004666 | 5.4993 | 4.9991
|  | 2022-08-12 13:38 | 161 | [18 empty] | 5 | 5.75 | 0.004711 | 5.7482 | 4.9991
|  | 2022-08-12 13:38 | 162 | [18 empty] | 5 | 6 | 0.004753 | 5.9986 | 4.9991
|  | 2022-08-12 13:38 | 163 | [18 empty] | 5 | 6.25 | 0.004795 | 6.2483 | 4.9991
|  | 2022-08-12 13:38 | 164 | [18 empty] | 5 | 6.5 | 0.004834 | 6.4988 | 4.9991
|  | 2022-08-12 13:38 | 165 | [18 empty] | 5 | 6.75 | 0.004873 | 6.7492 | 4.9991
|  | 2022-08-12 13:38 | 166 | [18 empty] | 5 | 7 | 0.004912 | 6.9989 | 4.9991
|  | 2022-08-12 13:38 | 167 | [18 empty] | 5 | 7.25 | 0.00495 | 7.2494 | 4.9991
|  | 2022-08-12 13:38 | 168 | [18 empty] | 5 | 7.5 | 0.004985 | 7.4982 | 4.9991
|  | 2022-08-12 13:38 | 169 | [18 empty] | 5 | 7.75 | 0.005022 | 7.7486 | 4.9991
|  | 2022-08-12 13:38 | 170 | [18 empty] | 5 | 8 | 0.005057 | 7.9983 | 4.9991
|  | 2022-08-12 13:38 | 171 | [18 empty] | 5 | 8.25 | 0.005092 | 8.2488 | 4.9991
|  | 2022-08-12 13:38 | 172 | [18 empty] | 5 | 8.5 | 0.005126 | 8.4992 | 4.9991
|  | 2022-08-12 13:38 | 173 | [18 empty] | 5 | 8.75 | 0.005159 | 8.7489 | 4.9991
|  | 2022-08-12 13:38 | 174 | [18 empty] | 5 | 9 | 0.005193 | 8.9994 | 4.9991
|  | 2022-08-12 13:38 | 175 | [18 empty] | 5 | 9.25 | 0.005225 | 9.2482 | 4.9991
|  | 2022-08-12 13:38 | 176 | [18 empty] | 5 | 9.5 | 0.005258 | 9.4987 | 4.9991
|  | 2022-08-12 13:38 | 177 | [18 empty] | 5 | 9.75 | 0.005288 | 9.7483 | 4.9991
|  | 2022-08-12 13:38 | 178 | [18 empty] | 5 | 10 | 0.00532 | 9.9988 | 4.9991
|  | 2022-08-12 13:38 | 179 | [18 empty] | 5 | 10 |  |  |  | 0
|  | 2022-08-12 13:38 | 180 | [24 empty] | 0